## Plate plan dor ZE5
A1 | 21U3638641 | A1 | 21U3584621 | A1 | 18U488896
A2 | 21U3632151 | A2 | 21U3608101 | A2 | 18U500199
A3 | 21U3631551 | A3 | 21U3559431 | A3 | 18U512168
A4 | 50U0527081 | A4 | 21U3574281 | A4 | 18U510182
A5 | 21U3638911 | A5 | 21U3545211 | A5 | 18U510260
A6 | 21U3645411 | A6 | 21U3542411 | A6 | 18U069447
A7 | 21U3645921 | A7 | 21U3543331 | A7 | 18U500701
A8 | 21U3633781 | A8 | 21U3586811 | A8 | 18U510177
A9 | 21U3647611 | A9 | 21U3539791 | A9 | 18U488898
A10 | 21U3634861 | A10 | 21U3574071 | A10 | 18U500975
A11 | 21U3633701 | A11 | 21U3573171 | A11 | 18U488880
A12 | 21U3662771 | A12 | 21U3593391 | A12 | 18U069441
B1 | 21U3633161 | B1 | 21U3617571 | B1 | 18U069442
B2 | 21U3633201 | B2 | 21U3615901 | B2 | 18U488895
B3 | 21U3644621 | B3 | 21U3599461 | B3 | 18U501643
B4 | 21U3631201 | B4 | 21U3580611 | B4 | 18U507676
B5 | 21U3632071 | B5 | 21U3587761 | B5 | 18U510261
B6 | 21U3661411 | B6 | 21U3563581 | B6 | 18U501584
B7 | 21U3638751 | B7 | 21U3536631 | B7 | 18U510179
B8 | 21U3638791 | B8 | 21U3588851 | B8 | 18U488897
B9 | 21U3649211 | B9 | 21U3546271 | B9 | 18U488796
B10 | 21U3637601 | B10 | 21U3554941 | B10 | 18U501997
B11 | 21U3634671 | B11 | 21U3538831 | B11 | 18U488668
B12 | 21U3631691 | B12 | 21U3559831 | B12 | 18U510263
C1 | 21U3665981 | C1 | 21U3548011 | C1 | 18U069427
C2 | 21U3638821 | C2 | 21U3562731 | C2 | 18U488702
C3 | 21U3631321 | C3 | 21U3600011 | C3 | 18U510213
C4 | 21U3607061 | C4 | 21U3561281 | C4 | 18U501639
C5 | 21U3630151 | C5 | 21U3547001 | C5 | 18U488697
C6 | 21U3634921 | C6 | 21U3581891 | C6 | 18U501899
C7 | 21U3629901 | C7 | 21U3590141 | C7 | 18U418877
C8 | 21U3651921 | C8 | 21U3538041 | C8 | 18U488908
C9 | 21U3633261 | C9 | 21U3557481 | C9 | 18U069440
C10 | 21U3632611 | C10 | 21U3538071 | C10 | 18U069446
C11 | 21U3641741 | C11 | 21U3545531 | C11 | 18U510264
C12 | 21U3635531 | C12 | 21U3556861 | C12 | 18U510174
D1 | 21U3638851 | D1 | 21U3611031 | D1 | 18U500980
D2 | 21U3615531 | D2 | 21U3596471 | D2 | 18U510202
D3 | 21U3641961 | D3 | 21U3595121 | D3 | 18U500990
D4 | 21U3611521 | D4 | 21U3611281 | D4 | 18U500970
D5 | 21U3631961 | D5 | 21U3609171 | D5 | 18U500699
D6 | 21U3641171 | D6 | 21U3560341 | D6 | 18U500988
D7 | 21U3632061 | D7 | 21U3538431 | D7 | 18U488701
D8 | 21U3633971 | D8 | 21U3575061 | D8 | 18U510184
D9 | 21U3631901 | D9 | 21U3570001 | D9 | 18U510625
D10 | 21U3635551 | D10 | 21U3494181 | D10 | 18U510185
D11 | 21U3655621 | D11 | 21U3596151 | D11 | 18U500976
D12 | 21U3679121 | D12 | 21U3544771 | D12 | 18U500966
E1 | 21U3645251 | E1 | 21U3549631 | E1 | 18U510181
E2 | 21U3634771 | E2 | 21U3570021 | E2 | 18U510172
E3 | 21U3645031 | E3 | 21U3623681 | H10 | techical control
E4 | 21U3662271 | E4 | 21U3598481 | H11 | N standard
E5 | 21U3630651 | E5 | 21U3583691 | H12 | CR3022 (100ng/ml)
E6 | 21U3629861 | E6 | 21U3593281
E7 | 21U3611511 | E7 | 21U3572711
E8 | 21U3689541 | E8 | 21U3569941
E9 | 21U3574891 | E9 | 21U3574831
E10 | 21U3660781 | E10 | 21U3532641
E11 | 21U3631651 | E11 | 21U3542301
E12 | 21U3657391 | E12 | 21U3527241
F1 | 21U3631851 | F1 | 21U3525871
F2 | 21U3639231 | F2 | 21U3569301
F3 | 21U3559501 | F3 | 21U3533941
F4 | 21U3625201 | H10 | techical control
F5 | 21U3585211 | H11 | N standard
F6 | 21U3607171 | H12 | CR3022 (100ng/ml)
F7 | 21U3610331
F8 | 21U3564281
F9 | 21U3626501
F10 | 21U3543251
F11 | 21U3525591
F12 | 21U3545701
H10 | techical control
H11 | N standard
H12 | CR3022 (100ng/ml)

## Results
Plate 3 | S1 |  | MFI |  |  | Fold change from technical control |  |  |  | N |  |  | MFI |  |  | Fold change from technical control |  |  | RBD |  |  | MFI |  | Fold change from technical control
COVID+ | Sample: | IgG | IgM | IgA | Protein | IgG | IgM | IgA | Protein |  | Sample: | IgG | IgM | IgA | Protein | IgG | IgM | IgA |  | Sample: | IgG | IgM | IgA | IgG | IgM | IgA
| A1 21U3638641.fcs | 3.99 | 76.4 | 1.5 | S1 | 1.4562 | 5.4571 | 1 | N |  | A1 21U3638641.fcs | 32.2 | 139 | 1.75 |  | 1.0094 | 7.2021 | 1 |  | A1 21U3638641.fcs | 106 | 313 | 5.28 | 1.3469 | 8.0051 | 1.4348
| A2 21U3632151.fcs | 1323 | 627 | 2.74 | S1 | 482.8467 | 44.7857 | 1.8267 | N |  | A2 21U3632151.fcs | 2409 | 339 | 7.73 |  | 75.5172 | 17.5648 | 4.4171 |  | A2 21U3632151.fcs | 4794 | 1638 | 40.3 | 60.9149 | 41.8926 | 10.9511
| A3 21U3631551.fcs | 1684 | 4714 | 8.98 | S1 | 614.5985 | 336.7143 | 5.9867 | N |  | A3 21U3631551.fcs | 1821 | 1550 | 15.5 |  | 57.0846 | 80.3109 | 8.8571 |  | A3 21U3631551.fcs | 8686 | 7851 | 99 | 110.3685 | 200.7928 | 26.9022
| A4 50U0527081.fcs | 2235 | 273 | 2.24 | S1 | 815.6934 | 19.5 | 1.4933 | N |  | A4 50U0527081.fcs | 2046 | 179 | 4.99 |  | 64.1379 | 9.2746 | 2.8514 |  | A4 50U0527081.fcs | 8707 | 871 | 24.2 | 110.6353 | 22.2762 | 6.5761
| A5 21U3638911.fcs | 4.24 | 88.8 | 1.5 | S1 | 1.5474 | 6.3429 | 1 | N |  | A5 21U3638911.fcs | 39.1 | 172 | 1.75 |  | 1.2257 | 8.9119 | 1 |  | A5 21U3638911.fcs | 106 | 491 | 3.97 | 1.3469 | 12.5575 | 1.0788
| A6 21U3645411.fcs | 1230 | 1038 | 20 | S1 | 448.9051 | 74.1429 | 13.3333 | N |  | A6 21U3645411.fcs | 4286 | 2633 | 143 |  | 134.3574 | 136.4249 | 81.7143 |  | A6 21U3645411.fcs | 8562 | 6206 | 319 | 108.7929 | 158.7212 | 86.6848
| A7 21U3645921.fcs | 3.49 | 140 | 1.5 | S1 | 1.2737 | 10 | 1 | N |  | A7 21U3645921.fcs | 64.5 | 279 | 39.3 |  | 2.0219 | 14.456 | 22.4571 |  | A7 21U3645921.fcs | 116 | 598 | 20.6 | 1.474 | 15.2941 | 5.5978
| A8 21U3633781.fcs | 2734 | 1564 | 7.73 | S1 | 997.8102 | 111.7143 | 5.1533 | N |  | A8 21U3633781.fcs | 4097 | 610 | 76.1 |  | 128.4326 | 31.6062 | 43.4857 |  | A8 21U3633781.fcs | 13739 | 3888 | 134 | 174.5743 | 99.4373 | 36.413
| A9 21U3647611.fcs | 79.5 | 496 | 3.24 | S1 | 29.0146 | 35.4286 | 2.16 | N |  | A9 21U3647611.fcs | 618 | 645 | 58.8 |  | 19.373 | 33.4197 | 33.6 |  | A9 21U3647611.fcs | 1404 | 1788 | 130 | 17.8399 | 45.7289 | 35.3261
| A10 21U3634861.fcs | 5.74 | 955 | 125 | S1 | 2.0949 | 68.2143 | 83.3333 | N |  | A10 21U3634861.fcs | 113 | 1501 | 2.74 |  | 3.5423 | 77.772 | 1.5657 |  | A10 21U3634861.fcs | 130 | 4647 | 616 | 1.6518 | 118.8491 | 167.3913
| A11 21U3633701.fcs | 54.3 | 171 | 1.75 | S1 | 19.8175 | 12.2143 | 1.1667 | N |  | A11 21U3633701.fcs | 2566 | 458 | 8.23 |  | 80.4389 | 23.7306 | 4.7029 |  | A11 21U3633701.fcs | 1103 | 754 | 46.1 | 14.0152 | 19.2839 | 12.5272
| A12 21U3662771.fcs | 1167 | 548 | 2.49 | S1 | 425.9124 | 39.1429 | 1.66 | N |  | A12 21U3662771.fcs | 1284 | 310 | 6.24 |  | 40.2508 | 16.0622 | 3.5657 |  | A12 21U3662771.fcs | 5559 | 1751 | 37 | 70.6353 | 44.7826 | 10.0543
| B1 21U3633161.fcs | 2008 | 1483 | 11.2 | S1 | 732.8467 | 105.9286 | 7.4667 | N |  | B1 21U3633161.fcs | 4029 | 889 | 29.4 |  | 126.3009 | 46.0622 | 16.8 |  | B1 21U3633161.fcs | 10687 | 4067 | 86 | 135.7942 | 104.0153 | 23.3696
| B2 21U3633201.fcs | 1813 | 1357 | 5.99 | S1 | 661.6788 | 96.9286 | 3.9933 | N |  | B2 21U3633201.fcs | 4048 | 581 | 74.7 |  | 126.8966 | 30.1036 | 42.6857 |  | B2 21U3633201.fcs | 10816 | 1921 | 93.2 | 137.4333 | 49.1304 | 25.3261
| B3 21U3644621.fcs | 7.73 | 701 | 1.5 | S1 | 2.8212 | 50.0714 | 1 | N |  | B3 21U3644621.fcs | 71.1 | 373 | 2.99 |  | 2.2288 | 19.3264 | 1.7086 |  | B3 21U3644621.fcs | 148 | 1360 | 8.27 | 1.8806 | 34.7826 | 2.2473
| B4 21U3631201.fcs | 1668 | 670 | 2.49 | S1 | 608.7591 | 47.8571 | 1.66 | N |  | B4 21U3631201.fcs | 2934 | 130 | 5.24 |  | 91.9749 | 6.7358 | 2.9943 |  | B4 21U3631201.fcs | 8984 | 1273 | 37.8 | 114.155 | 32.5575 | 10.2717
| B5 21U3632071.fcs | 2214 | 364 | 1.75 | S1 | 808.0292 | 26 | 1.1667 | N |  | B5 21U3632071.fcs | 3076 | 393 | 4.24 |  | 96.4263 | 20.3627 | 2.4229 |  | B5 21U3632071.fcs | 10895 | 1200 | 17.6 | 138.4371 | 30.6905 | 4.7826
| B6 21U3661411.fcs | 3.99 | 83 | 1.5 | S1 | 1.4562 | 5.9286 | 1 | N |  | B6 21U3661411.fcs | 33.9 | 119 | 1.75 |  | 1.0627 | 6.1658 | 1 |  | B6 21U3661411.fcs | 129 | 287 | 5.15 | 1.6391 | 7.3402 | 1.3995
| B7 21U3638751.fcs | 1043 | 131 | 1.75 | S1 | 380.6569 | 9.3571 | 1.1667 | N |  | B7 21U3638751.fcs | 2708 | 273 | 7.98 |  | 84.8903 | 14.1451 | 4.56 |  | B7 21U3638751.fcs | 6281 | 644 | 22 | 79.8094 | 16.4706 | 5.9783
| B8 21U3638791.fcs | 1101 | 293 | 1.75 | S1 | 401.8248 | 20.9286 | 1.1667 | N |  | B8 21U3638791.fcs | 1695 | 261 | 8.73 |  | 53.1348 | 13.5233 | 4.9886 |  | B8 21U3638791.fcs | 5493 | 1144 | 24.9 | 69.7967 | 29.2583 | 6.7663
| B9 21U3649211.fcs | 8.48 | 232 | 1.5 | S1 | 3.0949 | 16.5714 | 1 | N |  | B9 21U3649211.fcs | 197 | 242 | 2 |  | 6.1755 | 12.5389 | 1.1429 |  | B9 21U3649211.fcs | 210 | 758 | 6.71 | 2.6684 | 19.3862 | 1.8234
| B10 21U3637601.fcs | 249 | 565 | 2.49 | S1 | 90.8759 | 40.3571 | 1.66 | N |  | B10 21U3637601.fcs | 1398 | 158 | 10.7 |  | 43.8245 | 8.1865 | 6.1143 |  | B10 21U3637601.fcs | 3462 | 1564 | 64.1 | 43.9898 | 40 | 17.4185
| B11 21U3634671.fcs | 224 | 298 | 3.49 | S1 | 81.7518 | 21.2857 | 2.3267 | N |  | B11 21U3634671.fcs | 2621 | 495 | 2.74 |  | 82.163 | 25.6477 | 1.5657 |  | B11 21U3634671.fcs | 9727 | 2375 | 52.9 | 123.5959 | 60.7417 | 14.375
| B12 21U3631691.fcs | 1723 | 245 | 1.75 | S1 | 628.8321 | 17.5 | 1.1667 | N |  | B12 21U3631691.fcs | 3325 | 507 | 2.49 |  | 104.232 | 26.2694 | 1.4229 |  | B12 21U3631691.fcs | 7814 | 1575 | 17.3 | 99.2884 | 40.2813 | 4.7011
| C1 21U3665981.fcs | 719 | 679 | 21.8 | S1 | 262.4088 | 48.5 | 14.5333 | N |  | C1 21U3665981.fcs | 725 | 719 | 51.1 |  | 22.7273 | 37.2539 | 29.2 |  | C1 21U3665981.fcs | 1731 | 1293 | 171 | 21.9949 | 33.0691 | 46.4674
| C2 21U3638821.fcs | 251 | 600 | 53.7 | S1 | 91.6058 | 42.8571 | 35.8 | N |  | C2 21U3638821.fcs | 2225 | 2431 | 13.7 |  | 69.7492 | 125.9585 | 7.8286 |  | C2 21U3638821.fcs | 2386 | 7030 | 151 | 30.3177 | 179.7954 | 41.0326
| C3 21U3631321.fcs | 1083 | 365 | 1.5 | S1 | 395.2555 | 26.0714 | 1 | N |  | C3 21U3631321.fcs | 2460 | 325 | 7.73 |  | 77.116 | 16.8394 | 4.4171 |  | C3 21U3631321.fcs | 5612 | 1446 | 17.7 | 71.3088 | 36.9821 | 4.8098
| C4 21U3607061.fcs | 7.73 | 70 | 1.5 | S1 | 2.8212 | 5 | 1 | N |  | C4 21U3607061.fcs | 235 | 140 | 3.24 |  | 7.3668 | 7.2539 | 1.8514 |  | C4 21U3607061.fcs | 154 | 400 | 12.1 | 1.9568 | 10.2302 | 3.288
| C5 21U3630151.fcs | 2008 | 2118 | 2 | S1 | 732.8467 | 151.2857 | 1.3333 | N |  | C5 21U3630151.fcs | 3179 | 318 | 2.99 |  | 99.6552 | 16.4767 | 1.7086 |  | C5 21U3630151.fcs | 11081 | 3833 | 20.5 | 140.8005 | 98.0307 | 5.5707
| C6 21U3634921.fcs | 2431 | 722 | 4.24 | S1 | 887.2263 | 51.5714 | 2.8267 | N |  | C6 21U3634921.fcs | 1994 | 251 | 2.41 |  | 62.5078 | 13.0052 | 1.3771 |  | C6 21U3634921.fcs | 11001 | 2955 | 65.3 | 139.784 | 75.5754 | 17.7446
| C7 21U3629901.fcs | 2420 | 697 | 2.24 | S1 | 883.2117 | 49.7857 | 1.4933 | N |  | C7 21U3629901.fcs | 4400 | 424 | 5.24 |  | 137.931 | 21.9689 | 2.9943 |  | C7 21U3629901.fcs | 14385 | 5427 | 33.6 | 182.7827 | 138.798 | 9.1304
| C8 21U3651921.fcs | 780 | 1050 | 1.75 | S1 | 284.6715 | 75 | 1.1667 | N |  | C8 21U3651921.fcs | 2375 | 405 | 6.99 |  | 74.4514 | 20.9845 | 3.9943 |  | C8 21U3651921.fcs | 4165 | 4933 | 18.8 | 52.9225 | 126.1637 | 5.1087
| C9 21U3633261.fcs | 556 | 1354 | 10.7 | S1 | 202.9197 | 96.7143 | 7.1333 | N |  | C9 21U3633261.fcs | 1645 | 6798 | 66.7 |  | 51.5674 | 352.228 | 38.1143 |  | C9 21U3633261.fcs | 4225 | 12809 | 158 | 53.6849 | 327.5959 | 42.9348
| C10 21U3632611.fcs | 1703 | 305 | 2.49 | S1 | 621.5328 | 21.7857 | 1.66 | N |  | C10 21U3632611.fcs | 2008 | 133 | 3.74 |  | 62.9467 | 6.8912 | 2.1371 |  | C10 21U3632611.fcs | 8813 | 1029 | 31.1 | 111.9822 | 26.3171 | 8.4511
| C11 21U3641741.fcs | 1350 | 759 | 1.5 | S1 | 492.7007 | 54.2143 | 1 | N |  | C11 21U3641741.fcs | 1546 | 534 | 2.24 |  | 48.4639 | 27.6684 | 1.28 |  | C11 21U3641741.fcs | 7030 | 3647 | 9.19 | 89.3266 | 93.2737 | 2.4973
| C12 21U3635531.fcs | 986 | 45.6 | 1.5 | S1 | 359.854 | 3.2571 | 1 | N |  | C12 21U3635531.fcs | 1410 | 89.1 | 1.75 |  | 44.2006 | 4.6166 | 1 |  | C12 21U3635531.fcs | 5287 | 277 | 5.45 | 67.1792 | 7.0844 | 1.481
| D1 21U3638851.fcs | 3.99 | 26.3 | 1.5 | S1 | 1.4562 | 1.8786 | 1 | N |  | D1 21U3638851.fcs | 36.3 | 50.5 | 2.24 |  | 1.1379 | 2.6166 | 1.28 |  | D1 21U3638851.fcs | 106 | 179 | 8.22 | 1.3469 | 4.578 | 2.2337
| D2 21U3615531.fcs | 3.74 | 652 | 2.24 | S1 | 1.365 | 46.5714 | 1.4933 | N |  | D2 21U3615531.fcs | 32.2 | 108 | 2 |  | 1.0094 | 5.5959 | 1.1429 |  | D2 21U3615531.fcs | 93.5 | 850 | 14.2 | 1.1881 | 21.7391 | 3.8587
| D3 21U3641961.fcs | 1149 | 501 | 2.49 | S1 | 419.3431 | 35.7857 | 1.66 | N |  | D3 21U3641961.fcs | 1417 | 263 | 33.7 |  | 44.4201 | 13.6269 | 19.2571 |  | D3 21U3641961.fcs | 6191 | 1957 | 50.9 | 78.6658 | 50.0512 | 13.8315
| D4 21U3611521.fcs | 400 | 988 | 7.49 | S1 | 145.9854 | 70.5714 | 4.9933 | N |  | D4 21U3611521.fcs | 2403 | 446 | 2.49 |  | 75.3292 | 23.1088 | 1.4229 |  | D4 21U3611521.fcs | 3194 | 3389 | 42.1 | 40.5845 | 86.6752 | 11.4402
| D5 21U3631961.fcs | 1776 | 207 | 2.24 | S1 | 648.1752 | 14.7857 | 1.4933 | N |  | D5 21U3631961.fcs | 2443 | 362 | 6.99 |  | 76.5831 | 18.7565 | 3.9943 |  | D5 21U3631961.fcs | 8665 | 1076 | 34.6 | 110.1017 | 27.5192 | 9.4022
| D6 21U3641171.fcs | 1511 | 369 | 4.24 | S1 | 551.4599 | 26.3571 | 2.8267 | N |  | D6 21U3641171.fcs | 1743 | 727 | 102 |  | 54.6395 | 37.6684 | 58.2857 |  | D6 21U3641171.fcs | 5901 | 1691 | 143 | 74.9809 | 43.2481 | 38.8587
| D7 21U3632061.fcs | 2065 | 370 | 2.74 | S1 | 753.6496 | 26.4286 | 1.8267 | N |  | D7 21U3632061.fcs | 2839 | 523 | 5.74 |  | 88.9969 | 27.0984 | 3.28 |  | D7 21U3632061.fcs | 9159 | 1213 | 35.2 | 116.3787 | 31.023 | 9.5652
| D8 21U3633971.fcs | 40.6 | 93.8 | 1.5 | S1 | 14.8175 | 6.7 | 1 | N |  | D8 21U3633971.fcs | 868 | 77.8 | 4.49 |  | 27.21 | 4.0311 | 2.5657 |  | D8 21U3633971.fcs | 444 | 469 | 13.6 | 5.6417 | 11.9949 | 3.6957
| D9 21U3631901.fcs | 1553 | 662 | 5.49 | S1 | 566.7883 | 47.2857 | 3.66 | N |  | D9 21U3631901.fcs | 3217 | 333 | 21.3 |  | 100.8464 | 17.2539 | 12.1714 |  | D9 21U3631901.fcs | 7814 | 1487 | 84.4 | 99.2884 | 38.0307 | 22.9348
| D10 21U3635551.fcs | 966 | 121 | 3.74 | S1 | 352.5547 | 8.6429 | 2.4933 | N |  | D10 21U3635551.fcs | 1363 | 143 | 36.5 |  | 42.7273 | 7.4093 | 20.8571 |  | D10 21U3635551.fcs | 5125 | 422 | 81.2 | 65.1207 | 10.7928 | 22.0652
| D11 21U3655621.fcs | 1568 | 299 | 1.75 | S1 | 572.2628 | 21.3571 | 1.1667 | N |  | D11 21U3655621.fcs | 2022 | 139 | 4.99 |  | 63.3856 | 7.2021 | 2.8514 |  | D11 21U3655621.fcs | 7966 | 856 | 30.2 | 101.2198 | 21.8926 | 8.2065
| D12 21U3679121.fcs | 193 | 126 | 1.5 | S1 | 70.438 | 9 | 1 | N |  | D12 21U3679121.fcs | 635 | 99.6 | 1.75 |  | 19.906 | 5.1606 | 1 |  | D12 21U3679121.fcs | 1208 | 441 | 5.79 | 15.3494 | 11.2788 | 1.5734
| E1 21U3645251.fcs | 147 | 222 | 1.75 | S1 | 53.6496 | 15.8571 | 1.1667 | N |  | E1 21U3645251.fcs | 480 | 249 | 2.99 |  | 15.047 | 12.9016 | 1.7086 |  | E1 21U3645251.fcs | 1057 | 1699 | 16.8 | 13.4307 | 43.4527 | 4.5652
| E2 21U3634771.fcs | 1404 | 771 | 2.49 | S1 | 512.4088 | 55.0714 | 1.66 | N |  | E2 21U3634771.fcs | 1719 | 620 | 31.9 |  | 53.8871 | 32.1244 | 18.2286 |  | E2 21U3634771.fcs | 7501 | 2990 | 51.2 | 95.3113 | 76.4706 | 13.913
| E3 21U3645031.fcs | 2209 | 340 | 1.5 | S1 | 806.2044 | 24.2857 | 1 | N |  | E3 21U3645031.fcs | 2948 | 245 | 2.74 |  | 92.4138 | 12.6943 | 1.5657 |  | E3 21U3645031.fcs | 12293 | 1146 | 9.76 | 156.2008 | 29.3095 | 2.6522
| E4 21U3662271.fcs | 358 | 1183 | 1.75 | S1 | 130.6569 | 84.5 | 1.1667 | N |  | E4 21U3662271.fcs | 638 | 224 | 2.99 |  | 20 | 11.6062 | 1.7086 |  | E4 21U3662271.fcs | 2099 | 2094 | 26 | 26.6709 | 53.555 | 7.0652
| E5 21U3630651.fcs | 1723 | 182 | 1.5 | S1 | 628.8321 | 13 | 1 | N |  | E5 21U3630651.fcs | 1323 | 406 | 4.49 |  | 41.4734 | 21.0363 | 2.5657 |  | E5 21U3630651.fcs | 6996 | 694 | 12.5 | 88.8945 | 17.7494 | 3.3967
| E6 21U3629861.fcs | 1971 | 401 | 2.99 | S1 | 719.3431 | 28.6429 | 1.9933 | N |  | E6 21U3629861.fcs | 2934 | 440 | 10.7 |  | 91.9749 | 22.7979 | 6.1143 |  | E6 21U3629861.fcs | 10764 | 1417 | 41.4 | 136.7726 | 36.2404 | 11.25
| E7 21U3611511.fcs | 1264 | 381 | 2.24 | S1 | 461.3139 | 27.2143 | 1.4933 | N |  | E7 21U3611511.fcs | 3164 | 261 | 5.74 |  | 99.185 | 13.5233 | 3.28 |  | E7 21U3611511.fcs | 7966 | 2839 | 42.4 | 101.2198 | 72.6087 | 11.5217
| E8 21U3689541.fcs | 1335 | 556 | 1.75 | S1 | 487.2263 | 39.7143 | 1.1667 | N |  | E8 21U3689541.fcs | 3157 | 560 | 4.24 |  | 98.9655 | 29.0155 | 2.4229 |  | E8 21U3689541.fcs | 7047 | 2472 | 11.4 | 89.5426 | 63.2225 | 3.0978
| E9 21U3574891.fcs | 1699 | 478 | 2.24 | S1 | 620.073 | 34.1429 | 1.4933 | N |  | E9 21U3574891.fcs | 2089 | 303 | 5.99 |  | 65.4859 | 15.6995 | 3.4229 |  | E9 21U3574891.fcs | 10110 | 2358 | 39.2 | 128.4625 | 60.3069 | 10.6522
| E10 21U3660781.fcs | 2123 | 1542 | 2.24 | S1 | 774.8175 | 110.1429 | 1.4933 | N |  | E10 21U3660781.fcs | 3413 | 240 | 3.24 |  | 106.9906 | 12.4352 | 1.8514 |  | E10 21U3660781.fcs | 10482 | 4348 | 25.6 | 133.1893 | 111.202 | 6.9565
| E11 21U3631651.fcs | 1453 | 317 | 1.75 | S1 | 530.292 | 22.6429 | 1.1667 | N |  | E11 21U3631651.fcs | 1877 | 311 | 2.99 |  | 58.8401 | 16.114 | 1.7086 |  | E11 21U3631651.fcs | 8318 | 968 | 17.8 | 105.6925 | 24.757 | 4.837
| E12 21U3657391.fcs | 1843 | 232 | 2 | S1 | 672.6277 | 16.5714 | 1.3333 | N |  | E12 21U3657391.fcs | 3478 | 113 | 3.24 |  | 109.0282 | 5.8549 | 1.8514 |  | E12 21U3657391.fcs | 10134 | 852 | 22.9 | 128.7675 | 21.7903 | 6.2228
| F1 21U3631851.fcs | 4368 | 1809 | 2.24 | S1 | 1594.1606 | 129.2143 | 1.4933 | N |  | F1 21U3631851.fcs | 6311 | 302 | 11 |  | 197.837 | 15.6477 | 6.2857 |  | F1 21U3631851.fcs | 27014 | 6236 | 45.3 | 343.2529 | 159.4885 | 12.3098
| F2 21U3639231.fcs | 2664 | 5693 | 7.73 | S1 | 972.2628 | 406.6429 | 5.1533 | N |  | F2 21U3639231.fcs | 3294 | 1727 | 21.3 |  | 103.2602 | 89.4819 | 12.1714 |  | F2 21U3639231.fcs | 16196 | 16754 | 68.9 | 205.7942 | 428.491 | 18.7228
| F3 21U3559501.fcs | 5.24 | 390 | 1.66 | S1 | 1.9124 | 27.8571 | 1.1067 | N |  | F3 21U3559501.fcs | 39.1 | 464 | 2.24 |  | 1.2257 | 24.0415 | 1.28 |  | F3 21U3559501.fcs | 113 | 1317 | 6.47 | 1.4358 | 33.6829 | 1.7582
| F4 21U3625201.fcs | 1477 | 1456 | 2 | S1 | 539.0511 | 104 | 1.3333 | N |  | F4 21U3625201.fcs | 2099 | 676 | 4.24 |  | 65.7994 | 35.0259 | 2.4229 |  | F4 21U3625201.fcs | 7270 | 6001 | 24.6 | 92.3761 | 153.4783 | 6.6848
| F5 21U3585211.fcs | 1589 | 523 | 8.48 | S1 | 579.927 | 37.3571 | 5.6533 | N |  | F5 21U3585211.fcs | 2721 | 254 | 10.5 |  | 85.2978 | 13.1606 | 6 |  | F5 21U3585211.fcs | 7047 | 1962 | 64.3 | 89.5426 | 50.179 | 17.4728
| F6 21U3607171.fcs | 3587 | 679 | 5.24 | S1 | 1309.1241 | 48.5 | 3.4933 | N |  | F6 21U3607171.fcs | 5680 | 662 | 21.5 |  | 178.0564 | 34.3005 | 12.2857 |  | F6 21U3607171.fcs | 21040 | 3699 | 118 | 267.3443 | 94.6036 | 32.0652
| F7 21U3610331.fcs | 235 | 335 | 5.74 | S1 | 85.7664 | 23.9286 | 3.8267 | N |  | F7 21U3610331.fcs | 1539 | 1121 | 29.1 |  | 48.2445 | 58.0829 | 16.6286 |  | F7 21U3610331.fcs | 3069 | 1660 | 105 | 38.9962 | 42.4552 | 28.5326
| F8 21U3564281.fcs | 184 | 284 | 3.74 | S1 | 67.1533 | 20.2857 | 2.4933 | N |  | F8 21U3564281.fcs | 1864 | 182 | 3.24 |  | 58.4326 | 9.4301 | 1.8514 |  | F8 21U3564281.fcs | 1813 | 934 | 44.9 | 23.0368 | 23.8875 | 12.2011
| F9 21U3626501.fcs | 1796 | 568 | 2 | S1 | 655.4745 | 40.5714 | 1.3333 | N |  | F9 21U3626501.fcs | 1877 | 98 | 2.24 |  | 58.8401 | 5.0777 | 1.28 |  | F9 21U3626501.fcs | 8398 | 556 | 13.3 | 106.709 | 14.2199 | 3.6141
| F10 21U3543251.fcs | 426 | 764 | 2.74 | S1 | 155.4745 | 54.5714 | 1.8267 | N |  | F10 21U3543251.fcs | 4010 | 1939 | 15.5 |  | 125.7053 | 100.4663 | 8.8571 |  | F10 21U3543251.fcs | 6573 | 5748 | 43.3 | 83.5197 | 147.0077 | 11.7663
| F11 21U3525591.fcs | 17.5 | 2392 | 2 | S1 | 6.3869 | 170.8571 | 1.3333 | N |  | F11 21U3525591.fcs | 160 | 595 | 3.24 |  | 5.0157 | 30.829 | 1.8514 |  | F11 21U3525591.fcs | 358 | 5100 | 13.9 | 4.5489 | 130.4348 | 3.7772
| F12 21U3545701.fcs | 2646 | 1948 | 15.2 | S1 | 965.6934 | 139.1429 | 10.1333 | N |  | F12 21U3545701.fcs | 1767 | 244 | 3.49 |  | 55.3918 | 12.6425 | 1.9943 |  | F12 21U3545701.fcs | 17416 | 9519 | 86.5 | 221.2961 | 243.4527 | 23.5054
| H10 empty.fcs | 2.74 | 14 | 1.5 | S1 | 1 | 1 | 1 | N |  | H10 empty.fcs | 31.9 | 19.3 | 1.75 |  | 1 | 1 | 1 |  | H10 empty.fcs | 78.7 | 39.1 | 3.68 | 1 | 1 | 1
| H11 N standard.fcs | 163 | 13.2 | 1.5 | S1 | 59.4891 | 0.94286 | 1 | N |  | H11 N standard.fcs | 1695 | 19.3 | 1.75 |  | 53.1348 | 1 | 1 |  | H11 N standard.fcs | 2094 | 38.3 | 3.48 | 26.6074 | 0.97954 | 0.94565
| H12 CR3022 (100ngml).fcs | 2773 | 14.7 | 1.5 | S1 | 1012.0438 | 1.05 | 1 | N |  | H12 CR3022 (100ngml).fcs | 2053.8027 | 470.2389 | 5.8009 |  | 64.3825 | 24.3647 | 3.3148 |  | H12 CR3022 (100ngml).fcs | 13639 | 37.8 | 3.41 | 173.3037 | 0.96675 | 0.92663
Plate 2 | S1 |  | MFI |  |  | Fold change from technical control |  |  |  | N |  |  | MFI |  |  | Fold change from technical control |  |  | RBD |  |  | MFI |  | Fold change from technical control
COVID + | Sample: | IgG | IgM | IgA |  | IgG | IgM | IgA |  |  | Sample: | IgG | IgM | IgA |  | IgG | IgM | IgA |  | Sample: | IgG | IgM | IgA | IgG | IgM | IgA
| A1 21U3584621.fcs | 547 | 379 | 3.82 |  | 168.8272 | 21.4124 | 2.3727 |  |  | A1 21U3584621.fcs | 1568 | 319 | 5.17 |  | 52.973 | 13.5745 | 2.7354 |  | A1 21U3584621.fcs | 2454 | 1057 | 35 | 27.4497 | 19.8684 | 5.6911
| A2 21U3608101.fcs | 1385 | 1341 | 9.3 |  | 427.4691 | 75.7627 | 5.7764 |  |  | A2 21U3608101.fcs | 2108 | 414 | 37.7 |  | 71.2162 | 17.617 | 19.9471 |  | A2 21U3608101.fcs | 8728 | 5325 | 69.9 | 97.6286 | 100.094 | 11.3659
| A3 21U3559431.fcs | 1608 | 1287 | 6.73 |  | 496.2963 | 72.7119 | 4.1801 |  |  | A3 21U3559431.fcs | 303 | 503 | 48.2 |  | 10.2365 | 21.4043 | 25.5026 |  | A3 21U3559431.fcs | 12234 | 4726 | 109 | 136.8456 | 88.8346 | 17.7236
| A4 21U3574281.fcs | 173 | 297 | 2.92 |  | 53.3951 | 16.7797 | 1.8137 |  |  | A4 21U3574281.fcs | 511 | 285 | 3.53 |  | 17.2635 | 12.1277 | 1.8677 |  | A4 21U3574281.fcs | 915 | 804 | 9.64 | 10.2349 | 15.1128 | 1.5675
| A5 21U3545211.fcs | 115 | 477 | 3.36 |  | 35.4938 | 26.9492 | 2.087 |  |  | A5 21U3545211.fcs | 2256 | 2288 | 5.2 |  | 76.2162 | 97.3617 | 2.7513 |  | A5 21U3545211.fcs | 972 | 1626 | 18 | 10.8725 | 30.5639 | 2.9268
| A6 21U3542411.fcs | 741 | 1653 | 5.71 |  | 228.7037 | 93.3898 | 3.5466 |  |  | A6 21U3542411.fcs | 4010 | 728 | 14.9 |  | 135.473 | 30.9787 | 7.8836 |  | A6 21U3542411.fcs | 7064 | 4225 | 63.1 | 79.0157 | 79.4173 | 10.2602
| A7 21U3543331.fcs | 1649 | 405 | 3.68 |  | 508.9506 | 22.8814 | 2.2857 |  |  | A7 21U3543331.fcs | 1401 | 332 | 4.9 |  | 47.3311 | 14.1277 | 2.5926 |  | A7 21U3543331.fcs | 9405 | 1194 | 27.3 | 105.2013 | 22.4436 | 4.439
| A8 21U3586811.fcs | 247 | 225 | 2.94 |  | 76.2346 | 12.7119 | 1.8261 |  |  | A8 21U3586811.fcs | 812 | 481 | 4.91 |  | 27.4324 | 20.4681 | 2.5979 |  | A8 21U3586811.fcs | 2386 | 691 | 15 | 26.689 | 12.9887 | 2.439
| A9 21U3539791.fcs | 885 | 217 | 3.05 |  | 273.1481 | 12.2599 | 1.8944 |  |  | A9 21U3539791.fcs | 1029 | 181 | 15.2 |  | 34.7635 | 7.7021 | 8.0423 |  | A9 21U3539791.fcs | 5680 | 655 | 27.8 | 63.5347 | 12.312 | 4.5203
| A10 21U3574071.fcs | 254 | 335 | 6.24 |  | 78.3951 | 18.9266 | 3.8758 |  |  | A10 21U3574071.fcs | 1930 | 372 | 5.97 |  | 65.2027 | 15.8298 | 3.1587 |  | A10 21U3574071.fcs | 727 | 907 | 42.3 | 8.132 | 17.0489 | 6.878
| A11 21U3573171.fcs | 2055 | 299 | 3 |  | 634.2593 | 16.8927 | 1.8634 |  |  | A11 21U3573171.fcs | 1511 | 213 | 3.68 |  | 51.0473 | 9.0638 | 1.9471 |  | A11 21U3573171.fcs | 11351 | 758 | 30.8 | 126.9687 | 14.2481 | 5.0081
| A12 21U3593391.fcs | 700 | 481 | 4.48 |  | 216.0494 | 27.1751 | 2.7826 |  |  | A12 21U3593391.fcs | 535 | 243 | 6.37 |  | 18.0743 | 10.3404 | 3.3704 |  | A12 21U3593391.fcs | 4759 | 2261 | 41.4 | 53.2327 | 42.5 | 6.7317
| B1 21U3617571.fcs | 135 | 297 | 2.07 |  | 41.6667 | 16.7797 | 1.2857 |  |  | B1 21U3617571.fcs | 564 | 247 | 8.86 |  | 19.0541 | 10.5106 | 4.6878 |  | B1 21U3617571.fcs | 698 | 4945 | 29 | 7.8076 | 92.9511 | 4.7154
| B2 21U3615901.fcs | 89.4 | 363 | 3.78 |  | 27.5926 | 20.5085 | 2.3478 |  |  | B2 21U3615901.fcs | 503 | 999 | 231 |  | 16.9932 | 42.5106 | 122.2222 |  | B2 21U3615901.fcs | 1244 | 8258 | 197 | 13.915 | 155.2256 | 32.0325
| B3 21U3599461.fcs | 166 | 227 | 1.69 |  | 51.2346 | 12.8249 | 1.0497 |  |  | B3 21U3599461.fcs | 91.7 | 130 | 1.97 |  | 3.098 | 5.5319 | 1.0423 |  | B3 21U3599461.fcs | 2409 | 2108 | 19.7 | 26.9463 | 39.6241 | 3.2033
| B4 21U3580611.fcs | 1123 | 873 | 22.7 |  | 346.6049 | 49.322 | 14.0994 |  |  | B4 21U3580611.fcs | 3413 | 790 | 6.53 |  | 115.3041 | 33.617 | 3.455 |  | B4 21U3580611.fcs | 9519 | 3833 | 98.7 | 106.4765 | 72.0489 | 16.0488
| B5 21U3587761.fcs | 1213 | 1755 | 6.71 |  | 374.3827 | 99.1525 | 4.1677 |  |  | B5 21U3587761.fcs | 685 | 144 | 10.1 |  | 23.1419 | 6.1277 | 5.3439 |  | B5 21U3587761.fcs | 7201 | 3806 | 135 | 80.5481 | 71.5414 | 21.9512
| B6 21U3563581.fcs | 43 | 377 | 2.2 |  | 13.2716 | 21.2994 | 1.3665 |  |  | B6 21U3563581.fcs | 290 | 265 | 2.86 |  | 9.7973 | 11.2766 | 1.5132 |  | B6 21U3563581.fcs | 648 | 1470 | 15.6 | 7.2483 | 27.6316 | 2.5366
| B7 21U3536631.fcs | 17.2 | 149 | 1.82 |  | 5.3086 | 8.4181 | 1.1304 |  |  | B7 21U3536631.fcs | 194 | 443 | 18.6 |  | 6.5541 | 18.8511 | 9.8413 |  | B7 21U3536631.fcs | 173 | 833 | 38.4 | 1.9351 | 15.6579 | 6.2439
| B8 21U3588851.fcs | 2342 | 360 | 3.41 |  | 722.8395 | 20.339 | 2.118 |  |  | B8 21U3588851.fcs | 1912 | 233 | 42 |  | 64.5946 | 9.9149 | 22.2222 |  | B8 21U3588851.fcs | 12353 | 1430 | 66.6 | 138.1767 | 26.8797 | 10.8293
| B9 21U3546271.fcs | 1178 | 232 | 1.84 |  | 363.5802 | 13.1073 | 1.1429 |  |  | B9 21U3546271.fcs | 1293 | 57.5 | 2.61 |  | 43.6824 | 2.4468 | 1.381 |  | B9 21U3546271.fcs | 7132 | 683 | 16.3 | 79.7763 | 12.8383 | 2.6504
| B10 21U3554941.fcs | 1152 | 658 | 7.32 |  | 355.5556 | 37.1751 | 4.5466 |  |  | B10 21U3554941.fcs | 1446 | 148 | 3.46 |  | 48.8514 | 6.2979 | 1.8307 |  | B10 21U3554941.fcs | 7851 | 2900 | 141 | 87.8188 | 54.5113 | 22.9268
| B11 21U3538831.fcs | 1302 | 138 | 2.25 |  | 401.8519 | 7.7966 | 1.3975 |  |  | B11 21U3538831.fcs | 1219 | 229 | 4.84 |  | 41.1824 | 9.7447 | 2.5608 |  | B11 21U3538831.fcs | 6236 | 449 | 23.3 | 69.7539 | 8.4398 | 3.7886
| B12 21U3559831.fcs | 1057 | 176 | 1.97 |  | 326.2346 | 9.9435 | 1.2236 |  |  | B12 21U3559831.fcs | 1040 | 135 | 11.6 |  | 35.1351 | 5.7447 | 6.1376 |  | B12 21U3559831.fcs | 7341 | 1539 | 31.5 | 82.1141 | 28.9286 | 5.122
| C1 21U3548011.fcs | 236 | 198 | 1.79 |  | 72.8395 | 11.1864 | 1.1118 |  |  | C1 21U3548011.fcs | 576 | 151 | 2.17 |  | 19.4595 | 6.4255 | 1.1481 |  | C1 21U3548011.fcs | 2734 | 1144 | 20.6 | 30.5817 | 21.5038 | 3.3496
| C2 21U3562731.fcs | 80.4 | 317 | 1.92 |  | 24.8148 | 17.9096 | 1.1925 |  |  | C2 21U3562731.fcs | 895 | 93.8 | 2.28 |  | 30.2365 | 3.9915 | 1.2063 |  | C2 21U3562731.fcs | 1597 | 1813 | 11 | 17.8635 | 34.0789 | 1.7886
| C3 21U3600011.fcs | 537 | 511 | 1.95 |  | 165.7407 | 28.8701 | 1.2112 |  |  | C3 21U3600011.fcs | 843 | 365 | 3.64 |  | 28.4797 | 15.5319 | 1.9259 |  | C3 21U3600011.fcs | 3286 | 2658 | 21.7 | 36.7562 | 49.9624 | 3.5285
| C4 21U3561281.fcs | 131 | 145 | 1.74 |  | 40.4321 | 8.1921 | 1.0807 |  |  | C4 21U3561281.fcs | 618 | 113 | 2.17 |  | 20.8784 | 4.8085 | 1.1481 |  | C4 21U3561281.fcs | 1146 | 1284 | 20.3 | 12.8188 | 24.1353 | 3.3008
| C5 21U3547001.fcs | 62.3 | 89.1 | 1.69 |  | 19.2284 | 5.0339 | 1.0497 |  |  | C5 21U3547001.fcs | 1372 | 113 | 2.12 |  | 46.3514 | 4.8085 | 1.1217 |  | C5 21U3547001.fcs | 644 | 357 | 12.3 | 7.2036 | 6.7105 | 2
| C6 21U3581891.fcs | 483 | 446 | 1.92 |  | 149.0741 | 25.1977 | 1.1925 |  |  | C6 21U3581891.fcs | 577 | 530 | 2.79 |  | 19.4932 | 22.5532 | 1.4762 |  | C6 21U3581891.fcs | 3553 | 2128 | 16.1 | 39.7427 | 40 | 2.6179
| C7 21U3590141.fcs | 205 | 1230 | 7.75 |  | 63.2716 | 69.4915 | 4.8137 |  |  | C7 21U3590141.fcs | 2409 | 218 | 7.34 |  | 81.3851 | 9.2766 | 3.8836 |  | C7 21U3590141.fcs | 4255 | 6088 | 62 | 47.5951 | 114.4361 | 10.0813
| C8 21U3538041.fcs | 155 | 1296 | 4.56 |  | 47.8395 | 73.2203 | 2.8323 |  |  | C8 21U3538041.fcs | 174 | 686 | 97.5 |  | 5.8784 | 29.1915 | 51.5873 |  | C8 21U3538041.fcs | 1394 | 5845 | 164 | 15.5928 | 109.8684 | 26.6667
| C9 21U3557481.fcs | 258 | 391 | 1.87 |  | 79.6296 | 22.0904 | 1.1615 |  |  | C9 21U3557481.fcs | 1360 | 158 | 4.68 |  | 45.9459 | 6.7234 | 2.4762 |  | C9 21U3557481.fcs | 1723 | 4647 | 50.6 | 19.2729 | 87.3496 | 8.2276
| C10 21U3538071.fcs | 311 | 352 | 3.31 |  | 95.9877 | 19.887 | 2.0559 |  |  | C10 21U3538071.fcs | 612 | 335 | 7.59 |  | 20.6757 | 14.2553 | 4.0159 |  | C10 21U3538071.fcs | 5707 | 1634 | 47.4 | 63.8367 | 30.7143 | 7.7073
| C11 21U3545531.fcs | 502 | 395 | 2.81 |  | 154.9383 | 22.3164 | 1.7453 |  |  | C11 21U3545531.fcs | 915 | 321 | 5.28 |  | 30.9122 | 13.6596 | 2.7937 |  | C11 21U3545531.fcs | 3870 | 1743 | 33.7 | 43.2886 | 32.7632 | 5.4797
| C12 21U3556861.fcs | 1314 | 311 | 1.72 |  | 405.5556 | 17.5706 | 1.0683 |  |  | C12 21U3556861.fcs | 1680 | 723 | 2.76 |  | 56.7568 | 30.766 | 1.4603 |  | C12 21U3556861.fcs | 8728 | 1372 | 12.7 | 97.6286 | 25.7895 | 2.065
| D1 21U3611031.fcs | 1008 | 414 | 2 |  | 311.1111 | 23.3898 | 1.2422 |  |  | D1 21U3611031.fcs | 1146 | 133 | 4.74 |  | 38.7162 | 5.6596 | 2.5079 |  | D1 21U3611031.fcs | 9496 | 1290 | 25.3 | 106.2192 | 24.2481 | 4.1138
| D2 21U3596471.fcs | 2036 | 2353 | 4.28 |  | 628.3951 | 132.9379 | 2.6584 |  |  | D2 21U3596471.fcs | 2934 | 2793 | 47.6 |  | 99.1216 | 118.8511 | 25.1852 |  | D2 21U3596471.fcs | 15808 | 13411 | 116 | 176.8233 | 252.0865 | 18.8618
| D3 21U3595121.fcs | 6.99 | 279 | 1.79 |  | 2.1574 | 15.7627 | 1.1118 |  |  | D3 21U3595121.fcs | 236 | 154 | 2.2 |  | 7.973 | 6.5532 | 1.164 |  | D3 21U3595121.fcs | 140 | 5376 | 15.9 | 1.566 | 101.0526 | 2.5854
| D4 21U3611281.fcs | 101 | 590 | 7.72 |  | 31.1728 | 33.3333 | 4.795 |  |  | D4 21U3611281.fcs | 1003 | 139 | 2.92 |  | 33.8851 | 5.9149 | 1.545 |  | D4 21U3611281.fcs | 951 | 6326 | 112 | 10.6376 | 118.9098 | 18.2114
| D5 21U3609171.fcs | 68.6 | 254 | 1.92 |  | 21.1728 | 14.3503 | 1.1925 |  |  | D5 21U3609171.fcs | 135 | 94.4 | 2.12 |  | 4.5608 | 4.017 | 1.1217 |  | D5 21U3609171.fcs | 1003 | 1050 | 41.9 | 11.2192 | 19.7368 | 6.813
| D6 21U3560341.fcs | 1480 | 402 | 4.99 |  | 456.7901 | 22.7119 | 3.0994 |  |  | D6 21U3560341.fcs | 1994 | 270 | 9.41 |  | 67.3649 | 11.4894 | 4.9788 |  | D6 21U3560341.fcs | 4817 | 4368 | 52 | 53.8814 | 82.1053 | 8.4553
| D7 21U3538431.fcs | 134 | 180 | 1.82 |  | 41.358 | 10.1695 | 1.1304 |  |  | D7 21U3538431.fcs | 1641 | 226 | 2.56 |  | 55.4392 | 9.617 | 1.3545 |  | D7 21U3538431.fcs | 1407 | 992 | 14.6 | 15.7383 | 18.6466 | 2.374
| D8 21U3575061.fcs | 8.98 | 112 | 1.64 |  | 2.7716 | 6.3277 | 1.0186 |  |  | D8 21U3575061.fcs | 138 | 124 | 2.1 |  | 4.6622 | 5.2766 | 1.1111 |  | D8 21U3575061.fcs | 159 | 664 | 8.18 | 1.7785 | 12.4812 | 1.3301
| D9 21U3570001.fcs | 2320 | 142 | 1.92 |  | 716.0494 | 8.0226 | 1.1925 |  |  | D9 21U3570001.fcs | 1186 | 58.3 | 10.7 |  | 40.0676 | 2.4809 | 5.6614 |  | D9 21U3570001.fcs | 12655 | 271 | 26.6 | 141.5548 | 5.094 | 4.3252
| D10 21U3494181.fcs | 235 | 369 | 3.2 |  | 72.5309 | 20.8475 | 1.9876 |  |  | D10 21U3494181.fcs | 358 | 572 | 77.4 |  | 12.0946 | 24.3404 | 40.9524 |  | D10 21U3494181.fcs | 2646 | 2512 | 125 | 29.5973 | 47.218 | 20.3252
| D11 21U3596151.fcs | 907 | 509 | 10.3 |  | 279.9383 | 28.7571 | 6.3975 |  |  | D11 21U3596151.fcs | 1634 | 152 | 3.28 |  | 55.2027 | 6.4681 | 1.7354 |  | D11 21U3596151.fcs | 6621 | 2148 | 255 | 74.0604 | 40.3759 | 41.4634
| D12 21U3544771.fcs | 754 | 335 | 12.9 |  | 232.716 | 18.9266 | 8.0124 |  |  | D12 21U3544771.fcs | 1062 | 120 | 14.1 |  | 35.8784 | 5.1064 | 7.4603 |  | D12 21U3544771.fcs | 3991 | 2578 | 152 | 44.6421 | 48.4586 | 24.7154
| E1 21U3549631.fcs | 9.48 | 157 | 2.02 |  | 2.9259 | 8.8701 | 1.2547 |  |  | E1 21U3549631.fcs | 753 | 1270 | 13.5 |  | 25.4392 | 54.0426 | 7.1429 |  | E1 21U3549631.fcs | 179 | 1619 | 54 | 2.0022 | 30.4323 | 8.7805
| E2 21U3570021.fcs | 1684 | 279 | 1.79 |  | 519.7531 | 15.7627 | 1.1118 |  |  | E2 21U3570021.fcs | 3325 | 590 | 3.99 |  | 112.3311 | 25.1064 | 2.1111 |  | E2 21U3570021.fcs | 12840 | 1443 | 25.4 | 143.6242 | 27.1241 | 4.1301
| E3 21U3623681.fcs | 139 | 526 | 1.79 |  | 42.9012 | 29.7175 | 1.1118 |  |  | E3 21U3623681.fcs | 638 | 241 | 2.53 |  | 21.5541 | 10.2553 | 1.3386 |  | E3 21U3623681.fcs | 3453 | 3112 | 30 | 38.6242 | 58.4962 | 4.878
| E4 21U3598481.fcs | 3225 | 2443 | 4.02 |  | 995.3704 | 138.0226 | 2.4969 |  |  | E4 21U3598481.fcs | 3462 | 5337 | 30 |  | 116.9595 | 227.1064 | 15.873 |  | E4 21U3598481.fcs | 18504 | 20736 | 114 | 206.9799 | 389.7744 | 18.5366
| E5 21U3583691.fcs | 1805 | 957 | 2.59 |  | 557.0988 | 54.0678 | 1.6087 |  |  | E5 21U3583691.fcs | 1050 | 116 | 2.94 |  | 35.473 | 4.9362 | 1.5556 |  | E5 21U3583691.fcs | 14143 | 2288 | 39.1 | 158.1991 | 43.0075 | 6.3577
| E6 21U3593281.fcs | 470 | 979 | 15.3 |  | 145.0617 | 55.3107 | 9.5031 |  |  | E6 21U3593281.fcs | 1270 | 345 | 3.53 |  | 42.9054 | 14.6809 | 1.8677 |  | E6 21U3593281.fcs | 2819 | 10382 | 294 | 31.5324 | 195.1504 | 47.8049
| E7 21U3572711.fcs | 1903 | 813 | 2.41 |  | 587.3457 | 45.9322 | 1.4969 |  |  | E7 21U3572711.fcs | 1514 | 333 | 55.2 |  | 51.1486 | 14.1702 | 29.2063 |  | E7 21U3572711.fcs | 13059 | 2852 | 47.9 | 146.0738 | 53.609 | 7.7886
| E8 21U3569941.fcs | 446 | 416 | 7.61 |  | 137.6543 | 23.5028 | 4.7267 |  |  | E8 21U3569941.fcs | 2027 | 427 | 10.5 |  | 68.4797 | 18.1702 | 5.5556 |  | E8 21U3569941.fcs | 3453 | 1329 | 91 | 38.6242 | 24.9812 | 14.7967
| E9 21U3574831.fcs | 3389 | 651 | 2.89 |  | 1045.9877 | 36.7797 | 1.795 |  |  | E9 21U3574831.fcs | 2760 | 990 | 5.69 |  | 93.2432 | 42.1277 | 3.0106 |  | E9 21U3574831.fcs | 12412 | 13217 | 45.5 | 138.8367 | 248.4398 | 7.3984
| E10 21U3532641.fcs | 314 | 1103 | 4.42 |  | 96.9136 | 62.3164 | 2.7453 |  |  | E10 21U3532641.fcs | 917 | 638 | 25.8 |  | 30.9797 | 27.1489 | 13.6508 |  | E10 21U3532641.fcs | 6176 | 3286 | 141 | 69.0828 | 61.7669 | 22.9268
| E11 21U3542301.fcs | 1597 | 2219 | 3.17 |  | 492.9012 | 125.3672 | 1.9689 |  |  | E11 21U3542301.fcs | 1344 | 1255 | 14 |  | 45.4054 | 53.4043 | 7.4074 |  | E11 21U3542301.fcs | 13839 | 11799 | 63.1 | 154.7987 | 221.7857 | 10.2602
| E12 21U3527241.fcs | 10.7 | 133 | 1.69 |  | 3.3025 | 7.5141 | 1.0497 |  |  | E12 21U3527241.fcs | 158 | 232 | 2.38 |  | 5.3378 | 9.8723 | 1.2593 |  | E12 21U3527241.fcs | 118 | 581 | 12.4 | 1.3199 | 10.9211 | 2.0163
| F1 21U3525871.fcs | 871 | 320 | 2.25 |  | 268.8272 | 18.0791 | 1.3975 |  |  | F1 21U3525871.fcs | 493 | 102 | 18.4 |  | 16.6554 | 4.3404 | 9.7354 |  | F1 21U3525871.fcs | 6176 | 1040 | 29.1 | 69.0828 | 19.5489 | 4.7317
| F2 21U3569301.fcs | 352 | 434 | 2.17 |  | 108.642 | 24.5198 | 1.3478 |  |  | F2 21U3569301.fcs | 899 | 153 | 11 |  | 30.3716 | 6.5106 | 5.8201 |  | F2 21U3569301.fcs | 4538 | 1873 | 35.4 | 50.7606 | 35.2068 | 5.7561
| F3 21U3533941.fcs | 14.5 | 235 | 1.69 |  | 4.4753 | 13.2768 | 1.0497 |  |  | F3 21U3533941.fcs | 275 | 236 | 2.3 |  | 9.2905 | 10.0426 | 1.2169 |  | F3 21U3533941.fcs | 208 | 1278 | 10.6 | 2.3266 | 24.0226 | 1.7236
| H10 empty.fcs | 3.24 | 17.7 | 1.61 |  | 1 | 1 | 1 |  |  | H10 empty.fcs | 29.6 | 23.5 | 1.89 |  | 1 | 1 | 1 |  | H10 empty.fcs | 89.4 | 53.2 | 6.15 | 1 | 1 | 1
| H11 N standard.fcs | 174 | 23.5 | 1.69 |  | 53.7037 | 1.3277 | 1.0497 |  |  | H11 N standard.fcs | 1930 | 33.2 | 2.12 |  | 65.2027 | 1.4128 | 1.1217 |  | H11 N standard.fcs | 1341 | 80.7 | 7.17 | 15 | 1.5169 | 1.1659
| H12 CR3022 (100ngml).fcs | 2548 | 19.5 | 1.61 |  | 786.4198 | 1.1017 | 1 |  |  | H12 CR3022 (100ngml).fcs | 56.4 | 28.1 | 1.95 |  | 1.9054 | 1.1957 | 1.0317 |  | H12 CR3022 (100ngml).fcs | 37682 | 66.1 | 5.91 | 421.4989 | 1.2425 | 0.96098
Plate 3 | S1 |  | MFI |  |  | Fold change from technical control |  |  |  | N |  |  | MFI |  |  | Fold change from technical control |  |  | RBD |  |  | MFI |  | Fold change from technical control
COVID - | Sample: | IgG | IgM | IgA |  | IgG | IgM | IgA |  |  | Sample: | IgG | IgM | IgA |  | IgG | IgM | IgA |  | Sample: | IgG | IgM | IgA | IgG | IgM | IgA
| A1 18U488896.fcs | 33.4 | 101 | 1.77 |  | 12.1898 | 6.6447 | 1.0994 |  |  | A1 18U488896.fcs | 52.9 | 185 | 2.23 |  | 1.2105 | 9.1133 | 1.2253 |  | A1 18U488896.fcs | 168 | 787 | 13.9 | 1.8202 | 16.2603 | 2.3924
| A2 18U500199.fcs | 3.74 | 35.2 | 1.69 |  | 1.365 | 2.3158 | 1.0497 |  |  | A2 18U500199.fcs | 39.9 | 87.9 | 2.07 |  | 0.91304 | 4.33 | 1.1374 |  | A2 18U500199.fcs | 207 | 425 | 15.5 | 2.2427 | 8.781 | 2.6678
| A3 18U512168.fcs | 3.24 | 52.9 | 1.61 |  | 1.1825 | 3.4803 | 1 |  |  | A3 18U512168.fcs | 33.9 | 90.3 | 1.89 |  | 0.77574 | 4.4483 | 1.0385 |  | A3 18U512168.fcs | 131 | 328 | 8.13 | 1.4193 | 6.7769 | 1.3993
| A4 18U510182.fcs | 3.49 | 53.7 | 1.69 |  | 1.2737 | 3.5329 | 1.0497 |  |  | A4 18U510182.fcs | 171 | 75.3 | 2 |  | 3.913 | 3.7094 | 1.0989 |  | A4 18U510182.fcs | 221 | 491 | 17.3 | 2.3944 | 10.1446 | 2.9776
| A5 18U510260.fcs | 4.99 | 87.3 | 1.72 |  | 1.8212 | 5.7434 | 1.0683 |  |  | A5 18U510260.fcs | 48.4 | 152 | 2.02 |  | 1.1076 | 7.4877 | 1.1099 |  | A5 18U510260.fcs | 205 | 633 | 14.7 | 2.221 | 13.0785 | 2.5301
| A6 18U069447.fcs | 5.99 | 106 | 1.77 |  | 2.1861 | 6.9737 | 1.0994 |  |  | A6 18U069447.fcs | 40.1 | 210 | 2.33 |  | 0.91762 | 10.3448 | 1.2802 |  | A6 18U069447.fcs | 125 | 581 | 9.55 | 1.3543 | 12.0041 | 1.6437
| A7 18U500701.fcs | 6.99 | 184 | 1.72 |  | 2.5511 | 12.1053 | 1.0683 |  |  | A7 18U500701.fcs | 48.7 | 225 | 2.48 |  | 1.1144 | 11.0837 | 1.3626 |  | A7 18U500701.fcs | 184 | 1676 | 20.5 | 1.9935 | 34.6281 | 3.5284
| A8 18U510177.fcs | 14.7 | 195 | 1.79 |  | 5.365 | 12.8289 | 1.1118 |  |  | A8 18U510177.fcs | 56.1 | 413 | 2.36 |  | 1.2838 | 20.3448 | 1.2967 |  | A8 18U510177.fcs | 262 | 926 | 16.3 | 2.8386 | 19.1322 | 2.8055
| A9 18U488898.fcs | 8.48 | 92 | 1.66 |  | 3.0949 | 6.0526 | 1.0311 |  |  | A9 18U488898.fcs | 46.9 | 150 | 2.15 |  | 1.0732 | 7.3892 | 1.1813 |  | A9 18U488898.fcs | 133 | 832 | 9.27 | 1.441 | 17.1901 | 1.5955
| A10 18U500975.fcs | 26.8 | 154 | 1.69 |  | 9.781 | 10.1316 | 1.0497 |  |  | A10 18U500975.fcs | 50.3 | 148 | 2.28 |  | 1.151 | 7.2906 | 1.2527 |  | A10 18U500975.fcs | 408 | 1360 | 23.3 | 4.4204 | 28.0992 | 4.0103
| A11 18U488880.fcs | 4.24 | 69.4 | 1.66 |  | 1.5474 | 4.5658 | 1.0311 |  |  | A11 18U488880.fcs | 37.8 | 75.3 | 1.97 |  | 0.86499 | 3.7094 | 1.0824 |  | A11 18U488880.fcs | 210 | 553 | 18.2 | 2.2752 | 11.4256 | 3.1325
| A12 18U069441.fcs | 104 | 90 | 1.77 |  | 37.9562 | 5.9211 | 1.0994 |  |  | A12 18U069441.fcs | 46.1 | 133 | 2.48 |  | 1.0549 | 6.5517 | 1.3626 |  | A12 18U069441.fcs | 321 | 533 | 11.9 | 3.4778 | 11.0124 | 2.0482
| B1 18U069442.fcs | 5.24 | 134 | 1.69 |  | 1.9124 | 8.8158 | 1.0497 |  |  | B1 18U069442.fcs | 34.7 | 238 | 2.05 |  | 0.79405 | 11.7241 | 1.1264 |  | B1 18U069442.fcs | 118 | 620 | 9.82 | 1.2784 | 12.8099 | 1.6902
| B2 18U488895.fcs | 3.49 | 29.6 | 1.69 |  | 1.2737 | 1.9474 | 1.0497 |  |  | B2 18U488895.fcs | 30.6 | 73.3 | 2.02 |  | 0.70023 | 3.6108 | 1.1099 |  | B2 18U488895.fcs | 139 | 343 | 18.5 | 1.506 | 7.0868 | 3.1842
| B3 18U501643.fcs | 5.74 | 83.3 | 1.69 |  | 2.0949 | 5.4803 | 1.0497 |  |  | B3 18U501643.fcs | 43 | 114 | 2.36 |  | 0.98398 | 5.6158 | 1.2967 |  | B3 18U501643.fcs | 124 | 411 | 8.89 | 1.3434 | 8.4917 | 1.5301
| B4 18U507676.fcs | 15 | 70.3 | 1.69 |  | 5.4745 | 4.625 | 1.0497 |  |  | B4 18U507676.fcs | 41.9 | 178 | 2.17 |  | 0.95881 | 8.7685 | 1.1923 |  | B4 18U507676.fcs | 159 | 550 | 11 | 1.7226 | 11.3636 | 1.8933
| B5 18U510261.fcs | 31.9 | 66.4 | 1.72 |  | 11.6423 | 4.3684 | 1.0683 |  |  | B5 18U510261.fcs | 52.9 | 101 | 2.17 |  | 1.2105 | 4.9754 | 1.1923 |  | B5 18U510261.fcs | 292 | 421 | 13.8 | 3.1636 | 8.6983 | 2.3752
| B6 18U501584.fcs | 5.99 | 79.8 | 1.69 |  | 2.1861 | 5.25 | 1.0497 |  |  | B6 18U501584.fcs | 64.5 | 146 | 2.33 |  | 1.476 | 7.1921 | 1.2802 |  | B6 18U501584.fcs | 117 | 572 | 7.21 | 1.2676 | 11.8182 | 1.241
| B7 18U510179.fcs | 7.24 | 74.7 | 1.82 |  | 2.6423 | 4.9145 | 1.1304 |  |  | B7 18U510179.fcs | 52.4 | 146 | 3.97 |  | 1.1991 | 7.1921 | 2.1813 |  | B7 18U510179.fcs | 714 | 1219 | 69.5 | 7.7356 | 25.186 | 11.9621
| B8 18U488897.fcs | 3.74 | 85.9 | 1.64 |  | 1.365 | 5.6513 | 1.0186 |  |  | B8 18U488897.fcs | 1767 | 93.2 | 2.02 |  | 40.4348 | 4.5911 | 1.1099 |  | B8 18U488897.fcs | 135 | 723 | 12.2 | 1.4626 | 14.938 | 2.0998
| B9 18U488796.fcs | 4.49 | 101 | 1.61 |  | 1.6387 | 6.6447 | 1 |  |  | B9 18U488796.fcs | 99.9 | 160 | 2.36 |  | 2.286 | 7.8818 | 1.2967 |  | B9 18U488796.fcs | 214 | 1645 | 20.1 | 2.3185 | 33.9876 | 3.4596
| B10 18U501997.fcs | 9.48 | 104 | 1.69 |  | 3.4599 | 6.8421 | 1.0497 |  |  | B10 18U501997.fcs | 58.8 | 109 | 2 |  | 1.3455 | 5.3695 | 1.0989 |  | B10 18U501997.fcs | 354 | 835 | 16.1 | 3.8353 | 17.2521 | 2.7711
| B11 18U488668.fcs | 4.24 | 77.5 | 1.64 |  | 1.5474 | 5.0987 | 1.0186 |  |  | B11 18U488668.fcs | 57.7 | 171 | 2.1 |  | 1.3204 | 8.4236 | 1.1538 |  | B11 18U488668.fcs | 281 | 864 | 21.1 | 3.0444 | 17.8512 | 3.6317
| B12 18U510263.fcs | 3.74 | 380 | 1.64 |  | 1.365 | 25 | 1.0186 |  |  | B12 18U510263.fcs | 58.8 | 238 | 2.23 |  | 1.3455 | 11.7241 | 1.2253 |  | B12 18U510263.fcs | 136 | 2283 | 14.3 | 1.4735 | 47.1694 | 2.4613
| C1 18U069427.fcs | 4.49 | 70.5 | 1.69 |  | 1.6387 | 4.6382 | 1.0497 |  |  | C1 18U069427.fcs | 41.4 | 73.6 | 2.07 |  | 0.94737 | 3.6256 | 1.1374 |  | C1 18U069427.fcs | 228 | 507 | 18.1 | 2.4702 | 10.4752 | 3.1153
| C2 18U488702.fcs | 5.49 | 71.6 | 1.69 |  | 2.0036 | 4.7105 | 1.0497 |  |  | C2 18U488702.fcs | 50.8 | 101 | 2.1 |  | 1.1625 | 4.9754 | 1.1538 |  | C2 18U488702.fcs | 148 | 614 | 12.3 | 1.6035 | 12.686 | 2.117
| C3 18U510213.fcs | 5.74 | 116 | 1.92 |  | 2.0949 | 7.6316 | 1.1925 |  |  | C3 18U510213.fcs | 52.1 | 166 | 2.61 |  | 1.1922 | 8.1773 | 1.4341 |  | C3 18U510213.fcs | 554 | 970 | 37.3 | 6.0022 | 20.0413 | 6.42
| C4 18U501639.fcs | 7.24 | 79.8 | 1.64 |  | 2.6423 | 5.25 | 1.0186 |  |  | C4 18U501639.fcs | 48.4 | 238 | 2.97 |  | 1.1076 | 11.7241 | 1.6319 |  | C4 18U501639.fcs | 143 | 376 | 7.59 | 1.5493 | 7.7686 | 1.3064
| C5 18U488697.fcs | 4.49 | 45.8 | 1.69 |  | 1.6387 | 3.0132 | 1.0497 |  |  | C5 18U488697.fcs | 39.6 | 56.4 | 1.97 |  | 0.90618 | 2.7783 | 1.0824 |  | C5 18U488697.fcs | 297 | 905 | 19.9 | 3.2178 | 18.6983 | 3.4251
| C6 18U501899.fcs | 3.99 | 159 | 1.64 |  | 1.4562 | 10.4605 | 1.0186 |  |  | C6 18U501899.fcs | 43.2 | 304 | 2.3 |  | 0.98856 | 14.9754 | 1.2637 |  | C6 18U501899.fcs | 137 | 845 | 13.8 | 1.4843 | 17.4587 | 2.3752
| C7 18U418877.fcs | 10.5 | 136 | 1.69 |  | 3.8321 | 8.9474 | 1.0497 |  |  | C7 18U418877.fcs | 41.4 | 96.8 | 2.1 |  | 0.94737 | 4.7685 | 1.1538 |  | C7 18U418877.fcs | 257 | 1098 | 17.6 | 2.7844 | 22.686 | 3.0293
| C8 18U488908.fcs | 20.3 | 118 | 1.69 |  | 7.4088 | 7.7632 | 1.0497 |  |  | C8 18U488908.fcs | 145 | 237 | 2.51 |  | 3.3181 | 11.6749 | 1.3791 |  | C8 18U488908.fcs | 152 | 694 | 13.7 | 1.6468 | 14.3388 | 2.358
| C9 18U069440.fcs | 5.49 | 81.8 | 1.69 |  | 2.0036 | 5.3816 | 1.0497 |  |  | C9 18U069440.fcs | 42.4 | 105 | 2.15 |  | 0.97025 | 5.1724 | 1.1813 |  | C9 18U069440.fcs | 203 | 594 | 18.7 | 2.1993 | 12.2727 | 3.2186
| C10 18U069446.fcs | 56.7 | 79 | 1.72 |  | 20.6934 | 5.1974 | 1.0683 |  |  | C10 18U069446.fcs | 54.5 | 125 | 2.25 |  | 1.2471 | 6.1576 | 1.2363 |  | C10 18U069446.fcs | 419 | 733 | 28 | 4.5395 | 15.1446 | 4.8193
| C11 18U510264.fcs | 7.98 | 95.9 | 1.66 |  | 2.9124 | 6.3092 | 1.0311 |  |  | C11 18U510264.fcs | 67.2 | 115 | 2.17 |  | 1.5378 | 5.665 | 1.1923 |  | C11 18U510264.fcs | 257 | 947 | 19.3 | 2.7844 | 19.5661 | 3.3219
| C12 18U510174.fcs | 3.49 | 101 | 1.69 |  | 1.2737 | 6.6447 | 1.0497 |  |  | C12 18U510174.fcs | 73 | 182 | 2.05 |  | 1.6705 | 8.9655 | 1.1264 |  | C12 18U510174.fcs | 598 | 1532 | 41.6 | 6.4789 | 31.6529 | 7.1601
| D1 18U500980.fcs | 514 | 94.1 | 1.64 |  | 187.5912 | 6.1908 | 1.0186 |  |  | D1 18U500980.fcs | 179 | 174 | 3.82 |  | 4.0961 | 8.5714 | 2.0989 |  | D1 18U500980.fcs | 972 | 1293 | 24.5 | 10.5309 | 26.7149 | 4.2169
| D2 18U510202.fcs | 50.5 | 216 | 1.69 |  | 18.4307 | 14.2105 | 1.0497 |  |  | D2 18U510202.fcs | 46.3 | 182 | 2.02 |  | 1.0595 | 8.9655 | 1.1099 |  | D2 18U510202.fcs | 431 | 1391 | 19.9 | 4.6696 | 28.7397 | 3.4251
| D3 18U500990.fcs | 9.98 | 37.5 | 2.1 |  | 3.6423 | 2.4671 | 1.3043 |  |  | D3 18U500990.fcs | 46.1 | 81 | 2.1 |  | 1.0549 | 3.9901 | 1.1538 |  | D3 18U500990.fcs | 262 | 297 | 23.9 | 2.8386 | 6.1364 | 4.1136
| D4 18U500970.fcs | 11.7 | 69.7 | 1.64 |  | 4.2701 | 4.5855 | 1.0186 |  |  | D4 18U500970.fcs | 39.3 | 73 | 2.15 |  | 0.89931 | 3.5961 | 1.1813 |  | D4 18U500970.fcs | 131 | 359 | 13.3 | 1.4193 | 7.4174 | 2.2892
| D5 18U500699.fcs | 8.73 | 92 | 1.64 |  | 3.1861 | 6.0526 | 1.0186 |  |  | D5 18U500699.fcs | 70.5 | 146 | 2.51 |  | 1.6133 | 7.1921 | 1.3791 |  | D5 18U500699.fcs | 134 | 839 | 8.3 | 1.4518 | 17.3347 | 1.4286
| D6 18U500988.fcs | 4.99 | 93.5 | 1.69 |  | 1.8212 | 6.1513 | 1.0497 |  |  | D6 18U500988.fcs | 56.4 | 109 | 2.43 |  | 1.2906 | 5.3695 | 1.3352 |  | D6 18U500988.fcs | 130 | 494 | 8.79 | 1.4085 | 10.2066 | 1.5129
| D7 18U488701.fcs | 4.99 | 203 | 1.69 |  | 1.8212 | 13.3553 | 1.0497 |  |  | D7 18U488701.fcs | 50.3 | 130 | 2.17 |  | 1.151 | 6.4039 | 1.1923 |  | D7 18U488701.fcs | 195 | 988 | 17.2 | 2.1127 | 20.4132 | 2.9604
| D8 18U510184.fcs | 10.2 | 164 | 1.69 |  | 3.7226 | 10.7895 | 1.0497 |  |  | D8 18U510184.fcs | 40.6 | 111 | 2.1 |  | 0.92906 | 5.468 | 1.1538 |  | D8 18U510184.fcs | 489 | 808 | 9.5 | 5.2979 | 16.6942 | 1.6351
| D9 18U510625.fcs | 5.24 | 133 | 1.72 |  | 1.9124 | 8.75 | 1.0683 |  |  | D9 18U510625.fcs | 92 | 164 | 2.97 |  | 2.1053 | 8.0788 | 1.6319 |  | D9 18U510625.fcs | 220 | 1276 | 19.7 | 2.3835 | 26.3636 | 3.3907
| D10 18U510185.fcs | 4.99 | 88.5 | 1.69 |  | 1.8212 | 5.8224 | 1.0497 |  |  | D10 18U510185.fcs | 65.3 | 220 | 2.51 |  | 1.4943 | 10.8374 | 1.3791 |  | D10 18U510185.fcs | 120 | 518 | 11 | 1.3001 | 10.7025 | 1.8933
| D11 18U500976.fcs | 3.99 | 87.3 | 1.61 |  | 1.4562 | 5.7434 | 1 |  |  | D11 18U500976.fcs | 45.6 | 139 | 2.2 |  | 1.0435 | 6.8473 | 1.2088 |  | D11 18U500976.fcs | 307 | 671 | 23.6 | 3.3261 | 13.8636 | 4.062
| D12 18U500966.fcs | 4.49 | 198 | 1.69 |  | 1.6387 | 13.0263 | 1.0497 |  |  | D12 18U500966.fcs | 62.6 | 119 | 2.28 |  | 1.4325 | 5.8621 | 1.2527 |  | D12 18U500966.fcs | 129 | 1152 | 24 | 1.3976 | 23.8017 | 4.1308
| E1 18U510181.fcs | 7.49 | 344 | 1.87 |  | 2.7336 | 22.6316 | 1.1615 |  |  | E1 18U510181.fcs | 76.4 | 328 | 3.2 |  | 1.7483 | 16.1576 | 1.7582 |  | E1 18U510181.fcs | 634 | 2913 | 67 | 6.8689 | 60.186 | 11.5318
| E2 18U510172.fcs | 9.48 | 80.1 | 1.69 |  | 3.4599 | 5.2697 | 1.0497 |  |  | E2 18U510172.fcs | 94.4 | 110 | 2.15 |  | 2.1602 | 5.4187 | 1.1813 |  | E2 18U510172.fcs | 664 | 864 | 23.3 | 7.1939 | 17.8512 | 4.0103
| H10 empty.fcs | 2.74 | 15.2 | 1.61 |  | 1 | 1 | 1 |  |  | H10 empty.fcs | 43.7 | 20.3 | 1.82 |  | 1 | 1 | 1 |  | H10 empty.fcs | 92.3 | 48.4 | 5.81 | 1 | 1 | 1
| H11 N standard.fcs | 185 | 16 | 1.61 |  | 67.5182 | 1.0526 | 1 |  |  | H11 N standard.fcs | 2272 | 23.5 | 1.84 |  | 51.9908 | 1.1576 | 1.011 |  | H11 N standard.fcs | 1453 | 63.1 | 5.54 | 15.7421 | 1.3037 | 0.95353
| H12 CR3022 (100ngml).fcs | 2852 | 19.8 | 1.61 |  | 1040.8759 | 1.3026 | 1 |  |  | H12 CR3022 (100ngml).fcs | 56.1 | 28.1 | 1.95 |  | 1.2838 | 1.3842 | 1.0714 |  | H12 CR3022 (100ngml).fcs | 42760 | 75 | 6.36 | 463.2719 | 1.5496 | 1.0947

## Sheet3
Sample: | S1_IgG | S1_IgM | S1_IgA | N_IgG | N_IgM | N_IgA | RBD_IgG | RBD_IgM | RBD_IgA | Label | Plate
A1 21U3638641.fcs | 1.4562 | 5.4571 | 1 | 1.0094 | 7.2021 | 1 | 1 | 0.018997 | 7.2021 | POS | 1
A2 21U3632151.fcs | 482.8467 | 44.7857 | 1.8267 | 75.5172 | 17.5648 | 4.4171 | 1.8267 | 1.4212 | 17.5648 | POS | 1
A3 21U3631551.fcs | 614.5985 | 336.7143 | 5.9867 | 57.0846 | 80.3109 | 8.8571 | 5.9867 | 1.0743 | 80.3109 | POS | 1
A4 50U0527081.fcs | 815.6934 | 19.5 | 1.4933 | 64.1379 | 9.2746 | 2.8514 | 1.4933 | 1.2071 | 9.2746 | POS | 1
A5 21U3638911.fcs | 1.5474 | 6.3429 | 1 | 1.2257 | 8.9119 | 1 | 1 | 0.023068 | 8.9119 | POS | 1
A6 21U3645411.fcs | 448.9051 | 74.1429 | 13.3333 | 134.3574 | 136.4249 | 81.7143 | 13.3333 | 2.5286 | 136.4249 | POS | 1
A7 21U3645921.fcs | 1.2737 | 10 | 1 | 2.0219 | 14.456 | 22.4571 | 1 | 0.038053 | 14.456 | POS | 1
A8 21U3633781.fcs | 997.8102 | 111.7143 | 5.1533 | 128.4326 | 31.6062 | 43.4857 | 5.1533 | 2.4171 | 31.6062 | POS | 1
A9 21U3647611.fcs | 29.0146 | 35.4286 | 2.16 | 19.373 | 33.4197 | 33.6 | 2.16 | 0.3646 | 33.4197 | POS | 1
A10 21U3634861.fcs | 2.0949 | 68.2143 | 83.3333 | 3.5423 | 77.772 | 1.5657 | 83.3333 | 0.066667 | 77.772 | POS | 1
A11 21U3633701.fcs | 19.8175 | 12.2143 | 1.1667 | 80.4389 | 23.7306 | 4.7029 | 1.1667 | 1.5139 | 23.7306 | POS | 1
A12 21U3662771.fcs | 425.9124 | 39.1429 | 1.66 | 40.2508 | 16.0622 | 3.5657 | 1.66 | 0.75752 | 16.0622 | POS | 1
B1 21U3633161.fcs | 732.8467 | 105.9286 | 7.4667 | 126.3009 | 46.0622 | 16.8 | 7.4667 | 2.377 | 46.0622 | POS | 1
B2 21U3633201.fcs | 661.6788 | 96.9286 | 3.9933 | 126.8966 | 30.1036 | 42.6857 | 3.9933 | 2.3882 | 30.1036 | POS | 1
B3 21U3644621.fcs | 2.8212 | 50.0714 | 1 | 2.2288 | 19.3264 | 1.7086 | 1 | 0.041947 | 19.3264 | POS | 1
B4 21U3631201.fcs | 608.7591 | 47.8571 | 1.66 | 91.9749 | 6.7358 | 2.9943 | 1.66 | 1.731 | 6.7358 | POS | 1
B5 21U3632071.fcs | 808.0292 | 26 | 1.1667 | 96.4263 | 20.3627 | 2.4229 | 1.1667 | 1.8147 | 20.3627 | POS | 1
B6 21U3661411.fcs | 1.4562 | 5.9286 | 1 | 1.0627 | 6.1658 | 1 | 1 | 0.02 | 6.1658 | POS | 1
B7 21U3638751.fcs | 380.6569 | 9.3571 | 1.1667 | 84.8903 | 14.1451 | 4.56 | 1.1667 | 1.5976 | 14.1451 | POS | 1
B8 21U3638791.fcs | 401.8248 | 20.9286 | 1.1667 | 53.1348 | 13.5233 | 4.9886 | 1.1667 | 1 | 13.5233 | POS | 1
B9 21U3649211.fcs | 3.0949 | 16.5714 | 1 | 6.1755 | 12.5389 | 1.1429 | 1 | 0.11622 | 12.5389 | POS | 1
B10 21U3637601.fcs | 90.8759 | 40.3571 | 1.66 | 43.8245 | 8.1865 | 6.1143 | 1.66 | 0.82478 | 8.1865 | POS | 1
B11 21U3634671.fcs | 81.7518 | 21.2857 | 2.3267 | 82.163 | 25.6477 | 1.5657 | 2.3267 | 1.5463 | 25.6477 | POS | 1
B12 21U3631691.fcs | 628.8321 | 17.5 | 1.1667 | 104.232 | 26.2694 | 1.4229 | 1.1667 | 1.9617 | 26.2694 | POS | 1
C1 21U3665981.fcs | 262.4088 | 48.5 | 14.5333 | 22.7273 | 37.2539 | 29.2 | 14.5333 | 0.42773 | 37.2539 | POS | 1
C2 21U3638821.fcs | 91.6058 | 42.8571 | 35.8 | 69.7492 | 125.9585 | 7.8286 | 35.8 | 1.3127 | 125.9585 | POS | 1
C3 21U3631321.fcs | 395.2555 | 26.0714 | 1 | 77.116 | 16.8394 | 4.4171 | 1 | 1.4513 | 16.8394 | POS | 1
C4 21U3607061.fcs | 2.8212 | 5 | 1 | 7.3668 | 7.2539 | 1.8514 | 1 | 0.13864 | 7.2539 | POS | 1
C5 21U3630151.fcs | 732.8467 | 151.2857 | 1.3333 | 99.6552 | 16.4767 | 1.7086 | 1.3333 | 1.8755 | 16.4767 | POS | 1
C6 21U3634921.fcs | 887.2263 | 51.5714 | 2.8267 | 62.5078 | 13.0052 | 1.3771 | 2.8267 | 1.1764 | 13.0052 | POS | 1
C7 21U3629901.fcs | 883.2117 | 49.7857 | 1.4933 | 137.931 | 21.9689 | 2.9943 | 1.4933 | 2.5959 | 21.9689 | POS | 1
C8 21U3651921.fcs | 284.6715 | 75 | 1.1667 | 74.4514 | 20.9845 | 3.9943 | 1.1667 | 1.4012 | 20.9845 | POS | 1
C9 21U3633261.fcs | 202.9197 | 96.7143 | 7.1333 | 51.5674 | 352.228 | 38.1143 | 7.1333 | 0.9705 | 352.228 | POS | 1
C10 21U3632611.fcs | 621.5328 | 21.7857 | 1.66 | 62.9467 | 6.8912 | 2.1371 | 1.66 | 1.1847 | 6.8912 | POS | 1
C11 21U3641741.fcs | 492.7007 | 54.2143 | 1 | 48.4639 | 27.6684 | 1.28 | 1 | 0.91209 | 27.6684 | POS | 1
C12 21U3635531.fcs | 359.854 | 3.2571 | 1 | 44.2006 | 4.6166 | 1 | 1 | 0.83186 | 4.6166 | POS | 1
D1 21U3638851.fcs | 1.4562 | 1.8786 | 1 | 1.1379 | 2.6166 | 1.28 | 1 | 0.021416 | 2.6166 | POS | 1
D2 21U3615531.fcs | 1.365 | 46.5714 | 1.4933 | 1.0094 | 5.5959 | 1.1429 | 1.4933 | 0.018997 | 5.5959 | POS | 1
D3 21U3641961.fcs | 419.3431 | 35.7857 | 1.66 | 44.4201 | 13.6269 | 19.2571 | 1.66 | 0.83599 | 13.6269 | POS | 1
D4 21U3611521.fcs | 145.9854 | 70.5714 | 4.9933 | 75.3292 | 23.1088 | 1.4229 | 4.9933 | 1.4177 | 23.1088 | POS | 1
D5 21U3631961.fcs | 648.1752 | 14.7857 | 1.4933 | 76.5831 | 18.7565 | 3.9943 | 1.4933 | 1.4413 | 18.7565 | POS | 1
D6 21U3641171.fcs | 551.4599 | 26.3571 | 2.8267 | 54.6395 | 37.6684 | 58.2857 | 2.8267 | 1.0283 | 37.6684 | POS | 1
D7 21U3632061.fcs | 753.6496 | 26.4286 | 1.8267 | 88.9969 | 27.0984 | 3.28 | 1.8267 | 1.6749 | 27.0984 | POS | 1
D8 21U3633971.fcs | 14.8175 | 6.7 | 1 | 27.21 | 4.0311 | 2.5657 | 1 | 0.51209 | 4.0311 | POS | 1
D9 21U3631901.fcs | 566.7883 | 47.2857 | 3.66 | 100.8464 | 17.2539 | 12.1714 | 3.66 | 1.8979 | 17.2539 | POS | 1
D10 21U3635551.fcs | 352.5547 | 8.6429 | 2.4933 | 42.7273 | 7.4093 | 20.8571 | 2.4933 | 0.80413 | 7.4093 | POS | 1
D11 21U3655621.fcs | 572.2628 | 21.3571 | 1.1667 | 63.3856 | 7.2021 | 2.8514 | 1.1667 | 1.1929 | 7.2021 | POS | 1
D12 21U3679121.fcs | 70.438 | 9 | 1 | 19.906 | 5.1606 | 1 | 1 | 0.37463 | 5.1606 | POS | 1
E1 21U3645251.fcs | 53.6496 | 15.8571 | 1.1667 | 15.047 | 12.9016 | 1.7086 | 1.1667 | 0.28319 | 12.9016 | POS | 1
E2 21U3634771.fcs | 512.4088 | 55.0714 | 1.66 | 53.8871 | 32.1244 | 18.2286 | 1.66 | 1.0142 | 32.1244 | POS | 1
E3 21U3645031.fcs | 806.2044 | 24.2857 | 1 | 92.4138 | 12.6943 | 1.5657 | 1 | 1.7392 | 12.6943 | POS | 1
E4 21U3662271.fcs | 130.6569 | 84.5 | 1.1667 | 20 | 11.6062 | 1.7086 | 1.1667 | 0.3764 | 11.6062 | POS | 1
E5 21U3630651.fcs | 628.8321 | 13 | 1 | 41.4734 | 21.0363 | 2.5657 | 1 | 0.78053 | 21.0363 | POS | 1
E6 21U3629861.fcs | 719.3431 | 28.6429 | 1.9933 | 91.9749 | 22.7979 | 6.1143 | 1.9933 | 1.731 | 22.7979 | POS | 1
E7 21U3611511.fcs | 461.3139 | 27.2143 | 1.4933 | 99.185 | 13.5233 | 3.28 | 1.4933 | 1.8667 | 13.5233 | POS | 1
E8 21U3689541.fcs | 487.2263 | 39.7143 | 1.1667 | 98.9655 | 29.0155 | 2.4229 | 1.1667 | 1.8625 | 29.0155 | POS | 1
E9 21U3574891.fcs | 620.073 | 34.1429 | 1.4933 | 65.4859 | 15.6995 | 3.4229 | 1.4933 | 1.2324 | 15.6995 | POS | 1
E10 21U3660781.fcs | 774.8175 | 110.1429 | 1.4933 | 106.9906 | 12.4352 | 1.8514 | 1.4933 | 2.0136 | 12.4352 | POS | 1
E11 21U3631651.fcs | 530.292 | 22.6429 | 1.1667 | 58.8401 | 16.114 | 1.7086 | 1.1667 | 1.1074 | 16.114 | POS | 1
E12 21U3657391.fcs | 672.6277 | 16.5714 | 1.3333 | 109.0282 | 5.8549 | 1.8514 | 1.3333 | 2.0519 | 5.8549 | POS | 1
F1 21U3631851.fcs | 1594.1606 | 129.2143 | 1.4933 | 197.837 | 15.6477 | 6.2857 | 1.4933 | 3.7233 | 15.6477 | POS | 1
F2 21U3639231.fcs | 972.2628 | 406.6429 | 5.1533 | 103.2602 | 89.4819 | 12.1714 | 5.1533 | 1.9434 | 89.4819 | POS | 1
F3 21U3559501.fcs | 1.9124 | 27.8571 | 1.1067 | 1.2257 | 24.0415 | 1.28 | 1.1067 | 0.023068 | 24.0415 | POS | 1
F4 21U3625201.fcs | 539.0511 | 104 | 1.3333 | 65.7994 | 35.0259 | 2.4229 | 1.3333 | 1.2383 | 35.0259 | POS | 1
F5 21U3585211.fcs | 579.927 | 37.3571 | 5.6533 | 85.2978 | 13.1606 | 6 | 5.6533 | 1.6053 | 13.1606 | POS | 1
F6 21U3607171.fcs | 1309.1241 | 48.5 | 3.4933 | 178.0564 | 34.3005 | 12.2857 | 3.4933 | 3.351 | 34.3005 | POS | 1
F7 21U3610331.fcs | 85.7664 | 23.9286 | 3.8267 | 48.2445 | 58.0829 | 16.6286 | 3.8267 | 0.90796 | 58.0829 | POS | 1
F8 21U3564281.fcs | 67.1533 | 20.2857 | 2.4933 | 58.4326 | 9.4301 | 1.8514 | 2.4933 | 1.0997 | 9.4301 | POS | 1
F9 21U3626501.fcs | 655.4745 | 40.5714 | 1.3333 | 58.8401 | 5.0777 | 1.28 | 1.3333 | 1.1074 | 5.0777 | POS | 1
F10 21U3543251.fcs | 155.4745 | 54.5714 | 1.8267 | 125.7053 | 100.4663 | 8.8571 | 1.8267 | 2.3658 | 100.4663 | POS | 1
F11 21U3525591.fcs | 6.3869 | 170.8571 | 1.3333 | 5.0157 | 30.829 | 1.8514 | 1.3333 | 0.094395 | 30.829 | POS | 1
F12 21U3545701.fcs | 965.6934 | 139.1429 | 10.1333 | 55.3918 | 12.6425 | 1.9943 | 10.1333 | 1.0425 | 12.6425 | POS | 1
H10 empty.fcs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.01882 | 1 | SPECIAL | 1
H11 N standard.fcs | 59.4891 | 0.94286 | 1 | 53.1348 | 1 | 1 | 1 | 1 | 1 | SPECIAL | 1
H12 CR3022 (100ngml).fcs | 1012.0438 | 1.05 | 1 | 64.3825 | 24.3647 | 3.3148 | 1 | 1.2117 | 24.3647 | SPECIAL | 1
A1 21U3584621.fcs | 168.8272 | 21.4124 | 2.3727 | 52.973 | 13.5745 | 2.7354 | 27.4497 | 19.8684 | 5.6911 | POS | 2
A2 21U3608101.fcs | 427.4691 | 75.7627 | 5.7764 | 71.2162 | 17.617 | 19.9471 | 97.6286 | 100.094 | 11.3659 | POS | 2
A3 21U3559431.fcs | 496.2963 | 72.7119 | 4.1801 | 10.2365 | 21.4043 | 25.5026 | 136.8456 | 88.8346 | 17.7236 | POS | 2
A4 21U3574281.fcs | 53.3951 | 16.7797 | 1.8137 | 17.2635 | 12.1277 | 1.8677 | 10.2349 | 15.1128 | 1.5675 | POS | 2
A5 21U3545211.fcs | 35.4938 | 26.9492 | 2.087 | 76.2162 | 97.3617 | 2.7513 | 10.8725 | 30.5639 | 2.9268 | POS | 2
A6 21U3542411.fcs | 228.7037 | 93.3898 | 3.5466 | 135.473 | 30.9787 | 7.8836 | 79.0157 | 79.4173 | 10.2602 | POS | 2
A7 21U3543331.fcs | 508.9506 | 22.8814 | 2.2857 | 47.3311 | 14.1277 | 2.5926 | 105.2013 | 22.4436 | 4.439 | POS | 2
A8 21U3586811.fcs | 76.2346 | 12.7119 | 1.8261 | 27.4324 | 20.4681 | 2.5979 | 26.689 | 12.9887 | 2.439 | POS | 2
A9 21U3539791.fcs | 273.1481 | 12.2599 | 1.8944 | 34.7635 | 7.7021 | 8.0423 | 63.5347 | 12.312 | 4.5203 | POS | 2
A10 21U3574071.fcs | 78.3951 | 18.9266 | 3.8758 | 65.2027 | 15.8298 | 3.1587 | 8.132 | 17.0489 | 6.878 | POS | 2
A11 21U3573171.fcs | 634.2593 | 16.8927 | 1.8634 | 51.0473 | 9.0638 | 1.9471 | 126.9687 | 14.2481 | 5.0081 | POS | 2
A12 21U3593391.fcs | 216.0494 | 27.1751 | 2.7826 | 18.0743 | 10.3404 | 3.3704 | 53.2327 | 42.5 | 6.7317 | POS | 2
B1 21U3617571.fcs | 41.6667 | 16.7797 | 1.2857 | 19.0541 | 10.5106 | 4.6878 | 7.8076 | 92.9511 | 4.7154 | POS | 2
B2 21U3615901.fcs | 27.5926 | 20.5085 | 2.3478 | 16.9932 | 42.5106 | 122.2222 | 13.915 | 155.2256 | 32.0325 | POS | 2
B3 21U3599461.fcs | 51.2346 | 12.8249 | 1.0497 | 3.098 | 5.5319 | 1.0423 | 26.9463 | 39.6241 | 3.2033 | POS | 2
B4 21U3580611.fcs | 346.6049 | 49.322 | 14.0994 | 115.3041 | 33.617 | 3.455 | 106.4765 | 72.0489 | 16.0488 | POS | 2
B5 21U3587761.fcs | 374.3827 | 99.1525 | 4.1677 | 23.1419 | 6.1277 | 5.3439 | 80.5481 | 71.5414 | 21.9512 | POS | 2
B6 21U3563581.fcs | 13.2716 | 21.2994 | 1.3665 | 9.7973 | 11.2766 | 1.5132 | 7.2483 | 27.6316 | 2.5366 | POS | 2
B7 21U3536631.fcs | 5.3086 | 8.4181 | 1.1304 | 6.5541 | 18.8511 | 9.8413 | 1.9351 | 15.6579 | 6.2439 | POS | 2
B8 21U3588851.fcs | 722.8395 | 20.339 | 2.118 | 64.5946 | 9.9149 | 22.2222 | 138.1767 | 26.8797 | 10.8293 | POS | 2
B9 21U3546271.fcs | 363.5802 | 13.1073 | 1.1429 | 43.6824 | 2.4468 | 1.381 | 79.7763 | 12.8383 | 2.6504 | POS | 2
B10 21U3554941.fcs | 355.5556 | 37.1751 | 4.5466 | 48.8514 | 6.2979 | 1.8307 | 87.8188 | 54.5113 | 22.9268 | POS | 2
B11 21U3538831.fcs | 401.8519 | 7.7966 | 1.3975 | 41.1824 | 9.7447 | 2.5608 | 69.7539 | 8.4398 | 3.7886 | POS | 2
B12 21U3559831.fcs | 326.2346 | 9.9435 | 1.2236 | 35.1351 | 5.7447 | 6.1376 | 82.1141 | 28.9286 | 5.122 | POS | 2
C1 21U3548011.fcs | 72.8395 | 11.1864 | 1.1118 | 19.4595 | 6.4255 | 1.1481 | 30.5817 | 21.5038 | 3.3496 | POS | 2
C2 21U3562731.fcs | 24.8148 | 17.9096 | 1.1925 | 30.2365 | 3.9915 | 1.2063 | 17.8635 | 34.0789 | 1.7886 | POS | 2
C3 21U3600011.fcs | 165.7407 | 28.8701 | 1.2112 | 28.4797 | 15.5319 | 1.9259 | 36.7562 | 49.9624 | 3.5285 | POS | 2
C4 21U3561281.fcs | 40.4321 | 8.1921 | 1.0807 | 20.8784 | 4.8085 | 1.1481 | 12.8188 | 24.1353 | 3.3008 | POS | 2
C5 21U3547001.fcs | 19.2284 | 5.0339 | 1.0497 | 46.3514 | 4.8085 | 1.1217 | 7.2036 | 6.7105 | 2 | POS | 2
C6 21U3581891.fcs | 149.0741 | 25.1977 | 1.1925 | 19.4932 | 22.5532 | 1.4762 | 39.7427 | 40 | 2.6179 | POS | 2
C7 21U3590141.fcs | 63.2716 | 69.4915 | 4.8137 | 81.3851 | 9.2766 | 3.8836 | 47.5951 | 114.4361 | 10.0813 | POS | 2
C8 21U3538041.fcs | 47.8395 | 73.2203 | 2.8323 | 5.8784 | 29.1915 | 51.5873 | 15.5928 | 109.8684 | 26.6667 | POS | 2
C9 21U3557481.fcs | 79.6296 | 22.0904 | 1.1615 | 45.9459 | 6.7234 | 2.4762 | 19.2729 | 87.3496 | 8.2276 | POS | 2
C10 21U3538071.fcs | 95.9877 | 19.887 | 2.0559 | 20.6757 | 14.2553 | 4.0159 | 63.8367 | 30.7143 | 7.7073 | POS | 2
C11 21U3545531.fcs | 154.9383 | 22.3164 | 1.7453 | 30.9122 | 13.6596 | 2.7937 | 43.2886 | 32.7632 | 5.4797 | POS | 2
C12 21U3556861.fcs | 405.5556 | 17.5706 | 1.0683 | 56.7568 | 30.766 | 1.4603 | 97.6286 | 25.7895 | 2.065 | POS | 2
D1 21U3611031.fcs | 311.1111 | 23.3898 | 1.2422 | 38.7162 | 5.6596 | 2.5079 | 106.2192 | 24.2481 | 4.1138 | POS | 2
D2 21U3596471.fcs | 628.3951 | 132.9379 | 2.6584 | 99.1216 | 118.8511 | 25.1852 | 176.8233 | 252.0865 | 18.8618 | POS | 2
D3 21U3595121.fcs | 2.1574 | 15.7627 | 1.1118 | 7.973 | 6.5532 | 1.164 | 1.566 | 101.0526 | 2.5854 | POS | 2
D4 21U3611281.fcs | 31.1728 | 33.3333 | 4.795 | 33.8851 | 5.9149 | 1.545 | 10.6376 | 118.9098 | 18.2114 | POS | 2
D5 21U3609171.fcs | 21.1728 | 14.3503 | 1.1925 | 4.5608 | 4.017 | 1.1217 | 11.2192 | 19.7368 | 6.813 | POS | 2
D6 21U3560341.fcs | 456.7901 | 22.7119 | 3.0994 | 67.3649 | 11.4894 | 4.9788 | 53.8814 | 82.1053 | 8.4553 | POS | 2
D7 21U3538431.fcs | 41.358 | 10.1695 | 1.1304 | 55.4392 | 9.617 | 1.3545 | 15.7383 | 18.6466 | 2.374 | POS | 2
D8 21U3575061.fcs | 2.7716 | 6.3277 | 1.0186 | 4.6622 | 5.2766 | 1.1111 | 1.7785 | 12.4812 | 1.3301 | POS | 2
D9 21U3570001.fcs | 716.0494 | 8.0226 | 1.1925 | 40.0676 | 2.4809 | 5.6614 | 141.5548 | 5.094 | 4.3252 | POS | 2
D10 21U3494181.fcs | 72.5309 | 20.8475 | 1.9876 | 12.0946 | 24.3404 | 40.9524 | 29.5973 | 47.218 | 20.3252 | POS | 2
D11 21U3596151.fcs | 279.9383 | 28.7571 | 6.3975 | 55.2027 | 6.4681 | 1.7354 | 74.0604 | 40.3759 | 41.4634 | POS | 2
D12 21U3544771.fcs | 232.716 | 18.9266 | 8.0124 | 35.8784 | 5.1064 | 7.4603 | 44.6421 | 48.4586 | 24.7154 | POS | 2
E1 21U3549631.fcs | 2.9259 | 8.8701 | 1.2547 | 25.4392 | 54.0426 | 7.1429 | 2.0022 | 30.4323 | 8.7805 | POS | 2
E2 21U3570021.fcs | 519.7531 | 15.7627 | 1.1118 | 112.3311 | 25.1064 | 2.1111 | 143.6242 | 27.1241 | 4.1301 | POS | 2
E3 21U3623681.fcs | 42.9012 | 29.7175 | 1.1118 | 21.5541 | 10.2553 | 1.3386 | 38.6242 | 58.4962 | 4.878 | POS | 2
E4 21U3598481.fcs | 995.3704 | 138.0226 | 2.4969 | 116.9595 | 227.1064 | 15.873 | 206.9799 | 389.7744 | 18.5366 | POS | 2
E5 21U3583691.fcs | 557.0988 | 54.0678 | 1.6087 | 35.473 | 4.9362 | 1.5556 | 158.1991 | 43.0075 | 6.3577 | POS | 2
E6 21U3593281.fcs | 145.0617 | 55.3107 | 9.5031 | 42.9054 | 14.6809 | 1.8677 | 31.5324 | 195.1504 | 47.8049 | POS | 2
E7 21U3572711.fcs | 587.3457 | 45.9322 | 1.4969 | 51.1486 | 14.1702 | 29.2063 | 146.0738 | 53.609 | 7.7886 | POS | 2
E8 21U3569941.fcs | 137.6543 | 23.5028 | 4.7267 | 68.4797 | 18.1702 | 5.5556 | 38.6242 | 24.9812 | 14.7967 | POS | 2
E9 21U3574831.fcs | 1045.9877 | 36.7797 | 1.795 | 93.2432 | 42.1277 | 3.0106 | 138.8367 | 248.4398 | 7.3984 | POS | 2
E10 21U3532641.fcs | 96.9136 | 62.3164 | 2.7453 | 30.9797 | 27.1489 | 13.6508 | 69.0828 | 61.7669 | 22.9268 | POS | 2
E11 21U3542301.fcs | 492.9012 | 125.3672 | 1.9689 | 45.4054 | 53.4043 | 7.4074 | 154.7987 | 221.7857 | 10.2602 | POS | 2
E12 21U3527241.fcs | 3.3025 | 7.5141 | 1.0497 | 5.3378 | 9.8723 | 1.2593 | 1.3199 | 10.9211 | 2.0163 | POS | 2
F1 21U3525871.fcs | 268.8272 | 18.0791 | 1.3975 | 16.6554 | 4.3404 | 9.7354 | 69.0828 | 19.5489 | 4.7317 | POS | 2
F2 21U3569301.fcs | 108.642 | 24.5198 | 1.3478 | 30.3716 | 6.5106 | 5.8201 | 50.7606 | 35.2068 | 5.7561 | POS | 2
F3 21U3533941.fcs | 4.4753 | 13.2768 | 1.0497 | 9.2905 | 10.0426 | 1.2169 | 2.3266 | 24.0226 | 1.7236 | POS | 2
H10 empty.fcs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | SPECIAL | 2
H11 N standard.fcs | 53.7037 | 1.3277 | 1.0497 | 65.2027 | 1.4128 | 1.1217 | 15 | 1.5169 | 1.1659 | SPECIAL | 2
H12 CR3022 (100ngml).fcs | 786.4198 | 1.1017 | 1 | 1.9054 | 1.1957 | 1.0317 | 421.4989 | 1.2425 | 0.96098 | SPECIAL | 2
A1 18U488896.fcs | 12.1898 | 6.6447 | 1.0994 | 1.2105 | 9.1133 | 1.2253 | 1.8202 | 16.2603 | 2.3924 | NEG | 3
A2 18U500199.fcs | 1.365 | 2.3158 | 1.0497 | 0.91304 | 4.33 | 1.1374 | 2.2427 | 8.781 | 2.6678 | NEG | 3
A3 18U512168.fcs | 1.1825 | 3.4803 | 1 | 0.77574 | 4.4483 | 1.0385 | 1.4193 | 6.7769 | 1.3993 | NEG | 3
A4 18U510182.fcs | 1.2737 | 3.5329 | 1.0497 | 3.913 | 3.7094 | 1.0989 | 2.3944 | 10.1446 | 2.9776 | NEG | 3
A5 18U510260.fcs | 1.8212 | 5.7434 | 1.0683 | 1.1076 | 7.4877 | 1.1099 | 2.221 | 13.0785 | 2.5301 | NEG | 3
A6 18U069447.fcs | 2.1861 | 6.9737 | 1.0994 | 0.91762 | 10.3448 | 1.2802 | 1.3543 | 12.0041 | 1.6437 | NEG | 3
A7 18U500701.fcs | 2.5511 | 12.1053 | 1.0683 | 1.1144 | 11.0837 | 1.3626 | 1.9935 | 34.6281 | 3.5284 | NEG | 3
A8 18U510177.fcs | 5.365 | 12.8289 | 1.1118 | 1.2838 | 20.3448 | 1.2967 | 2.8386 | 19.1322 | 2.8055 | NEG | 3
A9 18U488898.fcs | 3.0949 | 6.0526 | 1.0311 | 1.0732 | 7.3892 | 1.1813 | 1.441 | 17.1901 | 1.5955 | NEG | 3
A10 18U500975.fcs | 9.781 | 10.1316 | 1.0497 | 1.151 | 7.2906 | 1.2527 | 4.4204 | 28.0992 | 4.0103 | NEG | 3
A11 18U488880.fcs | 1.5474 | 4.5658 | 1.0311 | 0.86499 | 3.7094 | 1.0824 | 2.2752 | 11.4256 | 3.1325 | NEG | 3
A12 18U069441.fcs | 37.9562 | 5.9211 | 1.0994 | 1.0549 | 6.5517 | 1.3626 | 3.4778 | 11.0124 | 2.0482 | NEG | 3
B1 18U069442.fcs | 1.9124 | 8.8158 | 1.0497 | 0.79405 | 11.7241 | 1.1264 | 1.2784 | 12.8099 | 1.6902 | NEG | 3
B2 18U488895.fcs | 1.2737 | 1.9474 | 1.0497 | 0.70023 | 3.6108 | 1.1099 | 1.506 | 7.0868 | 3.1842 | NEG | 3
B3 18U501643.fcs | 2.0949 | 5.4803 | 1.0497 | 0.98398 | 5.6158 | 1.2967 | 1.3434 | 8.4917 | 1.5301 | NEG | 3
B4 18U507676.fcs | 5.4745 | 4.625 | 1.0497 | 0.95881 | 8.7685 | 1.1923 | 1.7226 | 11.3636 | 1.8933 | NEG | 3
B5 18U510261.fcs | 11.6423 | 4.3684 | 1.0683 | 1.2105 | 4.9754 | 1.1923 | 3.1636 | 8.6983 | 2.3752 | NEG | 3
B6 18U501584.fcs | 2.1861 | 5.25 | 1.0497 | 1.476 | 7.1921 | 1.2802 | 1.2676 | 11.8182 | 1.241 | NEG | 3
B7 18U510179.fcs | 2.6423 | 4.9145 | 1.1304 | 1.1991 | 7.1921 | 2.1813 | 7.7356 | 25.186 | 11.9621 | NEG | 3
B8 18U488897.fcs | 1.365 | 5.6513 | 1.0186 | 40.4348 | 4.5911 | 1.1099 | 1.4626 | 14.938 | 2.0998 | NEG | 3
B9 18U488796.fcs | 1.6387 | 6.6447 | 1 | 2.286 | 7.8818 | 1.2967 | 2.3185 | 33.9876 | 3.4596 | NEG | 3
B10 18U501997.fcs | 3.4599 | 6.8421 | 1.0497 | 1.3455 | 5.3695 | 1.0989 | 3.8353 | 17.2521 | 2.7711 | NEG | 3
B11 18U488668.fcs | 1.5474 | 5.0987 | 1.0186 | 1.3204 | 8.4236 | 1.1538 | 3.0444 | 17.8512 | 3.6317 | NEG | 3
B12 18U510263.fcs | 1.365 | 25 | 1.0186 | 1.3455 | 11.7241 | 1.2253 | 1.4735 | 47.1694 | 2.4613 | NEG | 3
C1 18U069427.fcs | 1.6387 | 4.6382 | 1.0497 | 0.94737 | 3.6256 | 1.1374 | 2.4702 | 10.4752 | 3.1153 | NEG | 3
C2 18U488702.fcs | 2.0036 | 4.7105 | 1.0497 | 1.1625 | 4.9754 | 1.1538 | 1.6035 | 12.686 | 2.117 | NEG | 3
C3 18U510213.fcs | 2.0949 | 7.6316 | 1.1925 | 1.1922 | 8.1773 | 1.4341 | 6.0022 | 20.0413 | 6.42 | NEG | 3
C4 18U501639.fcs | 2.6423 | 5.25 | 1.0186 | 1.1076 | 11.7241 | 1.6319 | 1.5493 | 7.7686 | 1.3064 | NEG | 3
C5 18U488697.fcs | 1.6387 | 3.0132 | 1.0497 | 0.90618 | 2.7783 | 1.0824 | 3.2178 | 18.6983 | 3.4251 | NEG | 3
C6 18U501899.fcs | 1.4562 | 10.4605 | 1.0186 | 0.98856 | 14.9754 | 1.2637 | 1.4843 | 17.4587 | 2.3752 | NEG | 3
C7 18U418877.fcs | 3.8321 | 8.9474 | 1.0497 | 0.94737 | 4.7685 | 1.1538 | 2.7844 | 22.686 | 3.0293 | NEG | 3
C8 18U488908.fcs | 7.4088 | 7.7632 | 1.0497 | 3.3181 | 11.6749 | 1.3791 | 1.6468 | 14.3388 | 2.358 | NEG | 3
C9 18U069440.fcs | 2.0036 | 5.3816 | 1.0497 | 0.97025 | 5.1724 | 1.1813 | 2.1993 | 12.2727 | 3.2186 | NEG | 3
C10 18U069446.fcs | 20.6934 | 5.1974 | 1.0683 | 1.2471 | 6.1576 | 1.2363 | 4.5395 | 15.1446 | 4.8193 | NEG | 3
C11 18U510264.fcs | 2.9124 | 6.3092 | 1.0311 | 1.5378 | 5.665 | 1.1923 | 2.7844 | 19.5661 | 3.3219 | NEG | 3
C12 18U510174.fcs | 1.2737 | 6.6447 | 1.0497 | 1.6705 | 8.9655 | 1.1264 | 6.4789 | 31.6529 | 7.1601 | NEG | 3
D1 18U500980.fcs | 187.5912 | 6.1908 | 1.0186 | 4.0961 | 8.5714 | 2.0989 | 10.5309 | 26.7149 | 4.2169 | NEG | 3
D2 18U510202.fcs | 18.4307 | 14.2105 | 1.0497 | 1.0595 | 8.9655 | 1.1099 | 4.6696 | 28.7397 | 3.4251 | NEG | 3
D3 18U500990.fcs | 3.6423 | 2.4671 | 1.3043 | 1.0549 | 3.9901 | 1.1538 | 2.8386 | 6.1364 | 4.1136 | NEG | 3
D4 18U500970.fcs | 4.2701 | 4.5855 | 1.0186 | 0.89931 | 3.5961 | 1.1813 | 1.4193 | 7.4174 | 2.2892 | NEG | 3
D5 18U500699.fcs | 3.1861 | 6.0526 | 1.0186 | 1.6133 | 7.1921 | 1.3791 | 1.4518 | 17.3347 | 1.4286 | NEG | 3
D6 18U500988.fcs | 1.8212 | 6.1513 | 1.0497 | 1.2906 | 5.3695 | 1.3352 | 1.4085 | 10.2066 | 1.5129 | NEG | 3
D7 18U488701.fcs | 1.8212 | 13.3553 | 1.0497 | 1.151 | 6.4039 | 1.1923 | 2.1127 | 20.4132 | 2.9604 | NEG | 3
D8 18U510184.fcs | 3.7226 | 10.7895 | 1.0497 | 0.92906 | 5.468 | 1.1538 | 5.2979 | 16.6942 | 1.6351 | NEG | 3
D9 18U510625.fcs | 1.9124 | 8.75 | 1.0683 | 2.1053 | 8.0788 | 1.6319 | 2.3835 | 26.3636 | 3.3907 | NEG | 3
D10 18U510185.fcs | 1.8212 | 5.8224 | 1.0497 | 1.4943 | 10.8374 | 1.3791 | 1.3001 | 10.7025 | 1.8933 | NEG | 3
D11 18U500976.fcs | 1.4562 | 5.7434 | 1 | 1.0435 | 6.8473 | 1.2088 | 3.3261 | 13.8636 | 4.062 | NEG | 3
D12 18U500966.fcs | 1.6387 | 13.0263 | 1.0497 | 1.4325 | 5.8621 | 1.2527 | 1.3976 | 23.8017 | 4.1308 | NEG | 3
E1 18U510181.fcs | 2.7336 | 22.6316 | 1.1615 | 1.7483 | 16.1576 | 1.7582 | 6.8689 | 60.186 | 11.5318 | NEG | 3
E2 18U510172.fcs | 3.4599 | 5.2697 | 1.0497 | 2.1602 | 5.4187 | 1.1813 | 7.1939 | 17.8512 | 4.0103 | NEG | 3
H10 empty.fcs | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | SPECIAL | 3
H11 N standard.fcs | 67.5182 | 1.0526 | 1 | 51.9908 | 1.1576 | 1.011 | 15.7421 | 1.3037 | 0.95353 | SPECIAL | 3
H12 CR3022 (100ngml).fcs | 1040.8759 | 1.3026 | 1 | 1.2838 | 1.3842 | 1.0714 | 463.2719 | 1.5496 | 1.0947 | SPECIAL | 3